## Results Day 1
Method name: masterkurs2018_n2a_differentiated
Application: SparkControl |  |  |  | 1.1
Device: SPARK 10M |  |  |  | Serial number: 1511007580
Firmware: |  |  |  | LUM:V4.0.22¦ABS:V4.2.9¦ABS_MEX:V4.1.7¦MTP:V9.0.18¦FLUOR:V4.2.12¦GCM:V3.0.2
Date: |  |  |  | 2018-01-08
Time: |  |  |  | 15:36
System |  |  |  | PC-2WPML82
User |  |  |  | NT-AUTORITÄT\NETZWERKDIENST
Plate |  |  |  | [GRE96fw_chimney] - Greiner 96 Flat White [GRE96fw_chimney]
Lid lifter |  |  |  | Removable lid
Humidity Cassette |  |  |  | No humidity cassette
List of actions in this measurement script:
Plate
Temperature
Gas
User intervention
Kinetic
|  | Luminescence |  |  |  | RTG
Condition
User intervention
Plate layout
Name |  |  |  | GRE96fw_chimney
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Wait minimum |  |  |  | 36.5 | °C
Wait maximum |  |  |  | 37.5 | °C
Gas control |  |  |  | CO2
CO2 target value |  |  |  | 5 | %
CO2 wait minimum |  |  |  | 4.5 | %
CO2 wait maximum |  |  |  | 5.5 | %
User intervention text |  |  |  | Start assay
Mode | Kinetic
Kinetic cycles |  |  |  | 49
Interval time |  |  |  | 00:30:00
Mode | Luminescence
Attenuation |  |  |  | None
Settle time |  |  |  | 0 | ms
Integration time |  |  |  | 1000 | ms
Output |  |  |  | Counts / s
Part of Plate |  |  |  | A1-D12;E1-H11
Mode | Condition
Type |  |  |  | Start at cycle
Executed once
Operation |  |  |  | at cycle 7
User intervention text |  |  |  | Add glutamate
Start Time |  |  |  | 2018-01-08 12:15:00
RTG
Cycle Nr. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Time [s] | 0 | 1799.194 | 3599.1 | 5399.007 | 7198.919 | 8998.837 | 10798.744 | 12598.671 | 14398.574 | 16198.491 | 17998.399 | 19798.732 | 21598.222 | 23398.139 | 25198.045 | 26997.968 | 28797.875 | 30597.782 | 32397.69 | 34197.614 | 35997.521 | 37797.43 | 39597.351 | 41397.258 | 43197.166 | 44997.088 | 46796.992 | 48596.898 | 50396.82 | 52196.733 | 53996.639 | 55796.547 | 57596.466 | 59396.376 | 61196.293 | 62996.206 | 64796.111 | 66596.03 | 68395.942 | 70195.85 | 71995.759 | 73795.68 | 75595.581 | 77395.504 | 79195.417 | 80995.356 | 82795.264
CO2 % | 4.8 | 5 | 5 | 5 | 5 | 5 | 5 | 4.3 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
O2 % | 19.7 | 19.7 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.9 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.7 | 19.7 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6
Temp. [°C] | 37.03 | 37.1 | 37.14 | 37.09 | 37.15 | 36.96 | 36.98 | 37.25 | 36.95 | 37.04 | 37.13 | 37.04 | 36.93 | 37.04 | 37.07 | 37.02 | 36.96 | 37.1 | 37.07 | 36.95 | 36.94 | 36.99 | 37.08 | 36.89 | 36.9 | 36.94 | 36.91 | 36.92 | 37.03 | 37.1 | 36.94 | 36.96 | 36.92 | 36.92 | 36.97 | 36.94 | 37.03 | 36.97 | 36.96 | 36.95 | 37.1 | 36.91 | 37.12 | 37.14 | 36.98 | 37.17 | 36.9
A1 | 1667 | 34782 | 55302 | 75085 | 90925 | 103144 | 113341 | 54776 | 117738 | 127112 | 134660 | 138325 | 141845 | 143836 | 147661 | 148456 | 149539 | 150366 | 151236 | 153085 | 153239 | 153071 | 154510 | 155754 | 155410 | 157170 | 158174 | 157933 | 158981 | 161315 | 162894 | 164819 | 163862 | 166263 | 166376 | 168175 | 168789 | 168297 | 169367 | 168370 | 169773 | 170205 | 169674 | 170419 | 170164 | 170317 | 170413
A2 | 2480 | 51977 | 77315 | 97214 | 117606 | 136441 | 149598 | 74378 | 155071 | 171772 | 183120 | 189352 | 194747 | 201199 | 204134 | 206220 | 210330 | 212984 | 214680 | 216534 | 217349 | 219255 | 220008 | 223463 | 223998 | 228217 | 230272 | 230302 | 231997 | 235647 | 238818 | 239461 | 241746 | 243792 | 244254 | 247287 | 247440 | 248568 | 249138 | 250394 | 250937 | 251464 | 252183 | 252716 | 253963 | 253823 | 254233
A3 | 2656 | 50725 | 78661 | 92821 | 112962 | 131018 | 144863 | 74180 | 149113 | 167024 | 179088 | 185701 | 192224 | 197194 | 200982 | 204737 | 207139 | 209751 | 211907 | 214454 | 215230 | 215764 | 218054 | 220879 | 222761 | 224513 | 225741 | 228439 | 229519 | 230927 | 233958 | 234981 | 237999 | 239106 | 241071 | 241621 | 243598 | 243654 | 242962 | 244399 | 244442 | 245773 | 245760 | 246884 | 247017 | 246059 | 248110
A4 | 2676 | 50916 | 81660 | 97810 | 119528 | 136124 | 152108 | 80600 | 155263 | 176131 | 189125 | 194533 | 200824 | 207238 | 212151 | 213797 | 218022 | 219965 | 221901 | 222854 | 222799 | 225357 | 224582 | 227319 | 227327 | 228108 | 228935 | 229518 | 229775 | 232901 | 234985 | 235086 | 238083 | 237948 | 239552 | 240898 | 241010 | 241362 | 242209 | 241581 | 241890 | 243556 | 243203 | 243560 | 244770 | 244214 | 245426
A5 | 2453 | 46388 | 72326 | 87485 | 105038 | 120308 | 134638 | 70869 | 136950 | 154127 | 162986 | 169735 | 174773 | 178141 | 182303 | 183989 | 187756 | 188802 | 190366 | 191910 | 193163 | 194245 | 195539 | 198511 | 198057 | 198704 | 198812 | 199779 | 201529 | 204214 | 205596 | 206483 | 208289 | 209174 | 211385 | 211877 | 211883 | 213478 | 212532 | 213032 | 213573 | 214010 | 214968 | 216675 | 215583 | 216064 | 217401
A6 | 1797 | 38057 | 61848 | 76198 | 93954 | 106984 | 119673 | 61959 | 122259 | 135066 | 141959 | 146132 | 149509 | 153102 | 155368 | 156789 | 158677 | 159692 | 160509 | 161819 | 161859 | 162818 | 164287 | 165832 | 166942 | 167848 | 168629 | 170219 | 171479 | 172930 | 174472 | 175464 | 177738 | 179188 | 179580 | 181018 | 182952 | 182630 | 182888 | 184124 | 184122 | 184566 | 186619 | 187870 | 187454 | 189022 | 189723
A7 | 1680 | 27880 | 47471 | 58796 | 73929 | 87733 | 99199 | 55182 | 102107 | 114804 | 123788 | 129599 | 133412 | 136801 | 140123 | 142981 | 145530 | 147138 | 148479 | 149579 | 150973 | 152878 | 152976 | 155248 | 156844 | 158303 | 159893 | 161133 | 163013 | 164224 | 165827 | 167195 | 169196 | 171550 | 172523 | 174239 | 175642 | 176965 | 178694 | 179623 | 180016 | 181214 | 181549 | 182927 | 185699 | 186163 | 186660
A8 | 2373 | 37496 | 60494 | 75934 | 93603 | 110979 | 124409 | 69417 | 127701 | 143983 | 154638 | 160114 | 167008 | 168779 | 173318 | 177546 | 180283 | 179255 | 182193 | 186874 | 186643 | 187266 | 191627 | 187807 | 189993 | 193816 | 195684 | 199271 | 196583 | 198913 | 198870 | 201813 | 204703 | 206253 | 207929 | 208641 | 209801 | 211596 | 211879 | 212770 | 213500 | 214172 | 214215 | 215797 | 216910 | 217685 | 219076
A9 | 2729 | 41295 | 64991 | 81350 | 99323 | 116354 | 129855 | 70777 | 131777 | 148965 | 159150 | 166417 | 171612 | 175989 | 180282 | 183015 | 184554 | 186854 | 190227 | 190625 | 192989 | 193104 | 194573 | 196178 | 198319 | 200139 | 201271 | 202375 | 204157 | 205195 | 207940 | 210144 | 212746 | 215280 | 216662 | 217028 | 219904 | 222153 | 222097 | 222662 | 223007 | 225377 | 226145 | 227382 | 228699 | 229746 | 230514
A10 | 2093 | 47936 | 81964 | 101995 | 121600 | 138872 | 153393 | 84243 | 157858 | 179284 | 194032 | 201654 | 208438 | 214427 | 218783 | 224058 | 227320 | 229894 | 234482 | 235959 | 237183 | 238858 | 240957 | 243391 | 245336 | 248727 | 249976 | 253151 | 253638 | 257164 | 260630 | 262778 | 266372 | 268084 | 271997 | 274345 | 276543 | 277300 | 280022 | 278992 | 281246 | 283200 | 284154 | 285855 | 286273 | 286840 | 290061
A11 | 2172 | 44858 | 77430 | 96925 | 117912 | 134844 | 148540 | 79146 | 150626 | 171171 | 182659 | 189168 | 195388 | 198608 | 203900 | 205285 | 208008 | 210568 | 211938 | 213431 | 213478 | 213881 | 216109 | 216587 | 218142 | 220581 | 221343 | 222459 | 224809 | 226398 | 229202 | 230446 | 233177 | 234900 | 237020 | 238111 | 240258 | 240987 | 243341 | 243209 | 244587 | 245652 | 246472 | 247948 | 248930 | 249990 | 251213
A12 | 2078 | 48388 | 81227 | 106343 | 124950 | 141147 | 154677 | 165180 | 16293 | 6709 | 8154 | 10603 | 13361 | 15220 | 15172 | 14243 | 12973 | 12087 | 10996 | 10072 | 8874 | 7971 | 7177 | 6690 | 5986 | 5402 | 4778 | 4419 | 3840 | 3633 | 3310 | 3013 | 2612 | 2478 | 2222 | 2098 | 1988 | 1855 | 1656 | 1626 | 1474 | 1357 | 1226 | 1270 | 1172 | 1126 | 1088
B1 | 2245 | 44477 | 68773 | 88023 | 109350 | 125736 | 139707 | 73897 | 142623 | 162077 | 172888 | 179250 | 185972 | 190318 | 194733 | 198915 | 201574 | 204707 | 206445 | 207822 | 210542 | 211642 | 214117 | 216847 | 218524 | 221233 | 224249 | 226081 | 228480 | 231504 | 232427 | 237381 | 239180 | 242232 | 242534 | 246640 | 246816 | 251208 | 252366 | 251192 | 254448 | 254408 | 258380 | 259026 | 259321 | 261222 | 258045
B2 | 2008 | 39818 | 66555 | 82400 | 106130 | 126971 | 142537 | 76170 | 147667 | 170608 | 183877 | 190941 | 199459 | 204615 | 209891 | 213738 | 218319 | 221865 | 224651 | 227847 | 228807 | 230446 | 233890 | 235506 | 239591 | 241495 | 245048 | 245464 | 248985 | 250446 | 255219 | 256668 | 259884 | 263112 | 264622 | 267711 | 268956 | 271243 | 273166 | 274313 | 275535 | 277894 | 281008 | 282610 | 284836 | 287888 | 288623
B3 | 2297 | 42732 | 68964 | 86132 | 103712 | 120906 | 134690 | 73445 | 138716 | 159992 | 171614 | 179601 | 186864 | 192449 | 196293 | 199746 | 204025 | 206905 | 210289 | 213588 | 214394 | 217505 | 219488 | 222136 | 224463 | 227387 | 230257 | 232617 | 233902 | 238164 | 239591 | 242434 | 245304 | 247696 | 249709 | 252511 | 256259 | 257426 | 258671 | 259644 | 261189 | 264867 | 266657 | 269497 | 270400 | 272620 | 274631
B4 | 2572 | 50311 | 82709 | 101893 | 122360 | 139668 | 155339 | 85411 | 156619 | 180428 | 194143 | 202831 | 209802 | 215981 | 220605 | 225093 | 228246 | 232332 | 234447 | 236794 | 238399 | 238863 | 242003 | 245101 | 245589 | 249838 | 250354 | 252075 | 255735 | 258131 | 259046 | 260341 | 262615 | 265143 | 266813 | 269125 | 270325 | 272708 | 272585 | 274260 | 274748 | 278260 | 278787 | 281757 | 281952 | 285790 | 285609
B5 | 2023 | 42966 | 76645 | 96450 | 118357 | 136163 | 151832 | 84002 | 153372 | 178478 | 192410 | 201216 | 207427 | 214423 | 219298 | 223448 | 228421 | 230666 | 233472 | 236052 | 237508 | 239098 | 242087 | 243145 | 246381 | 247817 | 249580 | 253364 | 255410 | 257515 | 258156 | 261079 | 263216 | 266640 | 267295 | 269045 | 269938 | 272155 | 273763 | 275674 | 278443 | 279108 | 280023 | 283818 | 283645 | 287462 | 288322
B6 | 1958 | 39111 | 67508 | 84063 | 102147 | 121089 | 134435 | 74890 | 135260 | 157396 | 169642 | 177330 | 182907 | 188946 | 193392 | 196094 | 199150 | 201915 | 204370 | 206714 | 207944 | 208770 | 210951 | 213134 | 214317 | 216680 | 217566 | 219500 | 221464 | 223128 | 225321 | 227022 | 228934 | 230470 | 232077 | 233972 | 235522 | 237140 | 237969 | 239527 | 239733 | 241739 | 242322 | 244803 | 244931 | 246759 | 248985
B7 | 2113 | 32889 | 58159 | 77745 | 91351 | 108300 | 122727 | 73717 | 124718 | 142126 | 156175 | 164823 | 171045 | 176991 | 181208 | 186054 | 189419 | 191499 | 195003 | 196772 | 199700 | 200890 | 202683 | 204517 | 205800 | 208191 | 210673 | 212269 | 213860 | 215916 | 217864 | 219977 | 223032 | 225573 | 227260 | 228152 | 231252 | 232612 | 233759 | 236210 | 236794 | 238487 | 239218 | 241176 | 242050 | 243946 | 246169
B8 | 1867 | 30852 | 53952 | 72531 | 84560 | 101414 | 117082 | 67262 | 122220 | 144992 | 159186 | 167909 | 175526 | 181263 | 186994 | 192358 | 196199 | 199676 | 201833 | 206792 | 208950 | 210226 | 212150 | 212930 | 214921 | 217849 | 219578 | 222591 | 223343 | 227032 | 227314 | 229265 | 232134 | 234706 | 236414 | 238805 | 240016 | 242863 | 243631 | 244536 | 246075 | 247914 | 250405 | 252049 | 252494 | 253697 | 255809
B9 | 1987 | 29528 | 53627 | 73546 | 82997 | 97854 | 112896 | 65380 | 119392 | 139309 | 152846 | 161727 | 168679 | 174688 | 180024 | 184952 | 188214 | 191261 | 194020 | 196256 | 198786 | 200056 | 202694 | 203877 | 204936 | 207608 | 209679 | 211704 | 214370 | 213238 | 216305 | 218758 | 221174 | 224849 | 228388 | 229576 | 231219 | 234165 | 235261 | 236822 | 237085 | 239460 | 240644 | 242711 | 244519 | 245491 | 248786
B10 | 1912 | 37154 | 67290 | 86853 | 106843 | 125310 | 141979 | 80829 | 146567 | 170832 | 187733 | 196592 | 205300 | 211228 | 218765 | 223023 | 228050 | 230408 | 233635 | 237080 | 239767 | 240667 | 241433 | 244686 | 244480 | 247017 | 249091 | 251596 | 253556 | 254753 | 256723 | 257333 | 259532 | 262966 | 263149 | 265620 | 268122 | 269886 | 267093 | 269119 | 268289 | 271651 | 272140 | 273128 | 274083 | 275662 | 277177
B11 | 2205 | 42859 | 75733 | 95763 | 115946 | 134018 | 148831 | 82994 | 152324 | 178118 | 192939 | 201249 | 208393 | 214786 | 219583 | 224580 | 228564 | 230190 | 232587 | 234608 | 237128 | 237502 | 239179 | 240479 | 241124 | 243443 | 244686 | 245241 | 247747 | 249340 | 251211 | 253608 | 255702 | 258032 | 259001 | 262914 | 263035 | 263607 | 264030 | 266081 | 266103 | 266324 | 267338 | 267869 | 268524 | 269927 | 271074
B12 | 2331 | 43453 | 84447 | 111941 | 130474 | 146288 | 157102 | 153049 | 21211 | 7633 | 8152 | 10806 | 13837 | 15814 | 16229 | 15104 | 14187 | 12914 | 11955 | 10759 | 9877 | 8720 | 7840 | 7134 | 6340 | 5771 | 5058 | 4593 | 4166 | 3638 | 3283 | 3143 | 2894 | 2517 | 2323 | 2221 | 2014 | 1958 | 1925 | 1727 | 1610 | 1563 | 1509 | 1471 | 1322 | 1339 | 1335
C1 | 2376 | 42115 | 62775 | 82525 | 101597 | 118941 | 131555 | 72456 | 135861 | 152806 | 163528 | 170800 | 175410 | 180607 | 184978 | 187036 | 191145 | 194387 | 196895 | 197855 | 199891 | 200120 | 202133 | 204313 | 206767 | 208744 | 211349 | 212037 | 213229 | 218645 | 221079 | 222289 | 224579 | 227827 | 230521 | 233504 | 235119 | 236866 | 238830 | 240673 | 242029 | 244362 | 246056 | 247566 | 248671 | 248592 | 250962
C2 | 2103 | 39462 | 66743 | 81991 | 104182 | 123509 | 139086 | 74652 | 143947 | 167575 | 180581 | 188801 | 195726 | 203289 | 208778 | 213061 | 217430 | 221725 | 224749 | 227675 | 230156 | 232120 | 234456 | 236695 | 238429 | 242462 | 244620 | 248997 | 250717 | 255496 | 259143 | 259050 | 259793 | 266463 | 270757 | 272676 | 276741 | 278794 | 279735 | 281066 | 283300 | 286405 | 288812 | 297007 | 293461 | 295393 | 300143
C3 | 2197 | 41394 | 71278 | 87375 | 108994 | 127997 | 144364 | 76166 | 144540 | 171560 | 185570 | 193042 | 201579 | 208341 | 213092 | 219000 | 222048 | 225982 | 230162 | 231791 | 234612 | 235946 | 238499 | 241690 | 242651 | 245623 | 250353 | 253219 | 254232 | 256484 | 261471 | 264541 | 266571 | 271640 | 274710 | 277862 | 281032 | 285179 | 288296 | 289412 | 292406 | 295396 | 298193 | 302651 | 305019 | 308124 | 311531
C4 | 2051 | 40354 | 71824 | 90450 | 108319 | 127932 | 142222 | 75722 | 138431 | 166809 | 181287 | 190827 | 197888 | 204391 | 210007 | 214501 | 219372 | 223503 | 227692 | 229981 | 233135 | 235460 | 236826 | 239342 | 242394 | 245634 | 248352 | 251039 | 252912 | 256863 | 259264 | 262203 | 265332 | 269671 | 271851 | 276355 | 278043 | 282052 | 284392 | 286465 | 290362 | 290991 | 292868 | 297664 | 300751 | 304339 | 306590
C5 | 2072 | 40892 | 74520 | 94133 | 113943 | 132352 | 146774 | 80737 | 147523 | 172243 | 186014 | 193445 | 199700 | 206342 | 210777 | 216260 | 218298 | 222040 | 225219 | 226852 | 229321 | 230854 | 231853 | 233893 | 236099 | 238453 | 241177 | 243536 | 244688 | 247571 | 250373 | 253790 | 255121 | 258820 | 259554 | 262857 | 265664 | 268374 | 269865 | 271425 | 272891 | 276087 | 277929 | 279612 | 280783 | 284091 | 287253
C6 | 2055 | 38740 | 70098 | 88765 | 108643 | 127528 | 143800 | 79260 | 142969 | 168867 | 183088 | 191629 | 197993 | 203758 | 208687 | 214153 | 217477 | 220232 | 222597 | 224356 | 226863 | 227059 | 229839 | 232810 | 233780 | 235771 | 238637 | 241972 | 240829 | 245111 | 248003 | 250177 | 252554 | 255303 | 257888 | 259499 | 262190 | 263220 | 266203 | 268814 | 269001 | 272008 | 272573 | 274944 | 275924 | 279996 | 280685
C7 | 2229 | 32726 | 56892 | 78650 | 90169 | 108374 | 124295 | 70502 | 124632 | 147763 | 161671 | 169560 | 179926 | 184410 | 193222 | 197634 | 201734 | 207189 | 209637 | 213078 | 215313 | 216775 | 219799 | 222962 | 224348 | 226088 | 229413 | 233592 | 233115 | 234950 | 237760 | 242672 | 245372 | 250849 | 251896 | 254012 | 259197 | 262594 | 266752 | 267297 | 270830 | 273172 | 277398 | 279740 | 282808 | 286381 | 289234
C8 | 1794 | 26819 | 48350 | 69063 | 77301 | 92114 | 108280 | 63581 | 109355 | 131433 | 144359 | 154369 | 161897 | 167514 | 173182 | 178310 | 183725 | 186208 | 190201 | 193548 | 196424 | 198032 | 200451 | 203417 | 205570 | 207962 | 211700 | 213964 | 215158 | 217373 | 221195 | 223594 | 225813 | 229101 | 232528 | 235952 | 238810 | 241513 | 244688 | 245881 | 248269 | 250373 | 253634 | 256198 | 258581 | 262366 | 265009
C9 | 2121 | 32843 | 61876 | 82083 | 98759 | 117201 | 132899 | 75713 | 133144 | 156855 | 169455 | 177865 | 184559 | 191247 | 196090 | 200017 | 203338 | 206984 | 210104 | 212394 | 214813 | 218083 | 217944 | 221796 | 223438 | 226142 | 227550 | 230985 | 231256 | 234944 | 237397 | 239451 | 242614 | 245072 | 247140 | 250921 | 253578 | 255511 | 257585 | 260000 | 262304 | 263531 | 266506 | 268839 | 270403 | 274201 | 277278
C10 | 1840 | 34857 | 67557 | 86773 | 108646 | 128195 | 145215 | 83284 | 148930 | 177641 | 194281 | 204943 | 211874 | 219395 | 225564 | 230089 | 234891 | 238928 | 242607 | 244973 | 247649 | 247528 | 250237 | 252589 | 254879 | 255227 | 260617 | 264235 | 266825 | 269882 | 273016 | 275483 | 278519 | 282552 | 286015 | 289027 | 291467 | 293099 | 295937 | 298429 | 300016 | 302575 | 304411 | 307029 | 311036 | 313395 | 315319
C11 | 2005 | 36245 | 65202 | 81613 | 99002 | 116736 | 133927 | 75695 | 138622 | 162565 | 177244 | 185474 | 192626 | 198651 | 204455 | 210058 | 214146 | 217306 | 220037 | 222402 | 224487 | 225864 | 226950 | 229392 | 230085 | 232152 | 234780 | 236923 | 237415 | 240322 | 242401 | 245618 | 247220 | 251131 | 252201 | 255284 | 259362 | 259820 | 260461 | 262397 | 263723 | 265902 | 268287 | 269682 | 271686 | 273367 | 276835
C12 | 2567 | 44064 | 88014 | 116957 | 136221 | 153536 | 166277 | 163931 | 20676 | 9217 | 9561 | 11940 | 14975 | 16570 | 16352 | 15148 | 14181 | 13304 | 12237 | 11089 | 10095 | 9360 | 8422 | 7596 | 6910 | 6234 | 5744 | 5161 | 4660 | 4392 | 3953 | 3536 | 3341 | 3037 | 2893 | 2702 | 2429 | 2441 | 2188 | 2094 | 1905 | 1941 | 1709 | 1774 | 1785 | 1640 | 1530
D1 | 1815 | 35923 | 58588 | 80783 | 102966 | 120283 | 135420 | 77286 | 136612 | 159846 | 174052 | 181169 | 187763 | 193437 | 198124 | 202129 | 206002 | 208320 | 211116 | 214146 | 214577 | 215159 | 216677 | 217325 | 220584 | 222377 | 223727 | 226243 | 227314 | 231098 | 234380 | 238450 | 240503 | 242700 | 246757 | 247846 | 251697 | 254318 | 255279 | 258188 | 257700 | 260476 | 261364 | 264678 | 266657 | 266432 | 268065
D2 | 2164 | 40786 | 70229 | 93284 | 116855 | 136690 | 152300 | 82182 | 150621 | 176867 | 191963 | 200136 | 207768 | 213212 | 219728 | 224234 | 227615 | 231769 | 234423 | 237700 | 238713 | 240666 | 244215 | 245679 | 247225 | 251136 | 252090 | 253054 | 257443 | 258759 | 262444 | 266582 | 269185 | 271962 | 274924 | 277461 | 280318 | 281826 | 283438 | 286099 | 285718 | 288808 | 292601 | 294945 | 295761 | 296781 | 299506
D3 | 1636 | 32899 | 62302 | 75868 | 95500 | 114484 | 129330 | 70623 | 127114 | 154211 | 169081 | 178605 | 187135 | 195116 | 199882 | 204507 | 210433 | 214502 | 218238 | 221930 | 224797 | 227078 | 228156 | 230777 | 234685 | 237702 | 240117 | 242148 | 244371 | 246639 | 251341 | 254876 | 256808 | 262682 | 265343 | 268598 | 272687 | 275130 | 278471 | 281371 | 282828 | 285767 | 289669 | 291898 | 293011 | 297503 | 299738
D4 | 2549 | 42122 | 83759 | 100812 | 124915 | 145062 | 162407 | 87270 | 152865 | 184443 | 203522 | 213711 | 222209 | 229384 | 235273 | 241484 | 245874 | 251526 | 255481 | 258663 | 260055 | 264562 | 265833 | 268709 | 271603 | 273673 | 279101 | 280280 | 281438 | 284882 | 289552 | 291394 | 295266 | 299550 | 302426 | 305569 | 308900 | 313226 | 315690 | 318207 | 321776 | 323545 | 325871 | 330920 | 332252 | 336532 | 340209
D5 | 1909 | 35686 | 68950 | 86606 | 106672 | 126722 | 142180 | 77187 | 141197 | 165202 | 178684 | 185543 | 192814 | 197248 | 204257 | 208002 | 212590 | 214406 | 217566 | 219778 | 221241 | 223087 | 225319 | 225547 | 228919 | 230992 | 233488 | 233973 | 236706 | 239363 | 242401 | 244778 | 246798 | 251687 | 252759 | 256305 | 259153 | 260231 | 263938 | 265939 | 268227 | 268683 | 271057 | 274341 | 277567 | 280433 | 284167
D6 | 2107 | 35144 | 65283 | 85180 | 104635 | 121196 | 135839 | 75163 | 129555 | 157535 | 173041 | 182187 | 188622 | 196052 | 201386 | 206394 | 212250 | 213965 | 217897 | 222631 | 224142 | 227236 | 229622 | 232186 | 234090 | 236506 | 239297 | 242189 | 241882 | 245157 | 247930 | 250347 | 253672 | 255582 | 257740 | 260339 | 265227 | 266463 | 269214 | 272236 | 273704 | 276730 | 279357 | 281705 | 285754 | 287804 | 290647
D7 | 1905 | 29352 | 52994 | 81713 | 86360 | 102451 | 117511 | 66115 | 117317 | 141210 | 155455 | 165967 | 171426 | 178007 | 186164 | 188671 | 195316 | 200801 | 204041 | 208341 | 212370 | 215440 | 217123 | 220140 | 223223 | 227690 | 230880 | 233708 | 235260 | 239359 | 241661 | 244785 | 249346 | 255667 | 258641 | 262440 | 266101 | 269616 | 274619 | 277162 | 279426 | 282967 | 286429 | 291130 | 292838 | 298751 | 302497
D8 | 2208 | 29276 | 52824 | 73979 | 85965 | 104390 | 121200 | 70452 | 122345 | 146634 | 163027 | 171362 | 178103 | 185673 | 190707 | 196332 | 200973 | 203089 | 208085 | 210407 | 213458 | 215285 | 218811 | 220037 | 223088 | 223920 | 227391 | 229675 | 229716 | 232170 | 235787 | 237465 | 240228 | 244190 | 246496 | 250557 | 251371 | 255722 | 257784 | 259769 | 261175 | 263303 | 265766 | 267993 | 270424 | 273721 | 276393
D9 | 2241 | 30525 | 59243 | 77212 | 96018 | 114652 | 130806 | 75968 | 132722 | 156189 | 168945 | 175746 | 183606 | 188853 | 194379 | 197972 | 201822 | 205575 | 207813 | 209062 | 210627 | 211956 | 213545 | 214485 | 215712 | 217914 | 219961 | 221278 | 222412 | 224183 | 226715 | 228122 | 230170 | 234427 | 235962 | 238684 | 240375 | 242803 | 244895 | 246893 | 248629 | 250448 | 253307 | 255267 | 257040 | 259414 | 261430
D10 | 1665 | 31438 | 59780 | 77493 | 93107 | 112269 | 129842 | 75563 | 136651 | 164122 | 180077 | 190371 | 199054 | 206986 | 214556 | 219878 | 224332 | 228911 | 232990 | 236528 | 238621 | 240174 | 242370 | 245682 | 245697 | 248405 | 251486 | 253466 | 253604 | 256743 | 258326 | 261773 | 265427 | 268092 | 271218 | 276658 | 280351 | 282475 | 287694 | 290352 | 292586 | 294280 | 296386 | 299977 | 302737 | 306636 | 307778
D11 | 2178 | 38188 | 70837 | 89015 | 109116 | 130180 | 148189 | 85111 | 154921 | 185019 | 201836 | 211910 | 220560 | 228464 | 235168 | 241409 | 246255 | 251296 | 255336 | 258221 | 260266 | 263994 | 265650 | 268643 | 270428 | 272610 | 274476 | 276709 | 279112 | 282413 | 286191 | 290877 | 298520 | 299230 | 303445 | 306740 | 313826 | 317784 | 317914 | 322331 | 325165 | 328732 | 334070 | 337631 | 339778 | 345116 | 351115
D12 | 2669 | 42562 | 84277 | 112740 | 133034 | 148854 | 161610 | 162652 | 12415 | 6913 | 7309 | 8568 | 10157 | 12267 | 13747 | 15431 | 15529 | 14580 | 13294 | 11956 | 10890 | 9794 | 8694 | 7714 | 6969 | 6171 | 5393 | 4836 | 4467 | 4001 | 3656 | 3254 | 3144 | 2835 | 2668 | 2452 | 2279 | 2261 | 2086 | 2083 | 1841 | 1798 | 1789 | 1712 | 1677 | 1623 | 1598
E1 | 2271 | 39902 | 63224 | 87061 | 109573 | 127470 | 143281 | 77524 | 146219 | 166421 | 179120 | 185940 | 193303 | 197380 | 203042 | 205914 | 208761 | 210759 | 213173 | 214275 | 214069 | 215803 | 216941 | 217661 | 218436 | 219523 | 221661 | 222408 | 224389 | 227550 | 229565 | 232337 | 235011 | 238426 | 240546 | 242562 | 245051 | 247114 | 249659 | 250485 | 252411 | 253224 | 255443 | 257357 | 258838 | 260153 | 262291
E2 | 1614 | 31070 | 58136 | 70112 | 93385 | 112277 | 130496 | 68719 | 130766 | 155915 | 170201 | 179487 | 185281 | 193439 | 198869 | 202379 | 207154 | 210087 | 213279 | 216466 | 216613 | 217592 | 218970 | 222074 | 223339 | 226548 | 227446 | 227812 | 229851 | 235665 | 236744 | 239778 | 242353 | 245029 | 248014 | 250768 | 254126 | 255850 | 258445 | 261440 | 263601 | 266065 | 268402 | 272274 | 273422 | 278203 | 281038
E3 | 1842 | 33671 | 64738 | 78722 | 99823 | 121094 | 138104 | 71464 | 138230 | 163940 | 177943 | 186295 | 193478 | 200117 | 205890 | 210971 | 214125 | 218488 | 221131 | 222539 | 224781 | 224283 | 227867 | 228700 | 230360 | 232583 | 233639 | 236408 | 237038 | 239670 | 242298 | 244877 | 247797 | 249691 | 253343 | 255861 | 258775 | 260872 | 262925 | 265618 | 267058 | 269759 | 274318 | 276153 | 278865 | 283065 | 284922
E4 | 2387 | 40179 | 77995 | 93578 | 114748 | 134451 | 149475 | 79849 | 148188 | 173965 | 190879 | 200566 | 208210 | 214826 | 221109 | 226973 | 231221 | 234254 | 236082 | 238993 | 241127 | 242625 | 244291 | 248261 | 249367 | 250452 | 253425 | 255210 | 257027 | 259666 | 262931 | 264883 | 267707 | 270991 | 273488 | 276461 | 280141 | 282025 | 283993 | 286769 | 290171 | 291305 | 295536 | 300023 | 302928 | 306689 | 309411
E5 | 2232 | 38086 | 67261 | 93087 | 101795 | 120639 | 137897 | 73937 | 138365 | 163773 | 178821 | 186449 | 193424 | 199681 | 205560 | 211173 | 215649 | 218427 | 221687 | 224166 | 225301 | 226572 | 227803 | 229644 | 230854 | 232133 | 234457 | 236119 | 237617 | 240136 | 241689 | 244639 | 246876 | 249651 | 252689 | 254941 | 256772 | 258646 | 261277 | 262819 | 264603 | 267251 | 271428 | 272907 | 272969 | 277791 | 278319
E6 | 1757 | 29439 | 59207 | 78561 | 94760 | 112820 | 127567 | 69945 | 128262 | 149243 | 161012 | 168149 | 174535 | 180567 | 184827 | 188423 | 191132 | 193647 | 195487 | 197900 | 198781 | 200121 | 199989 | 201566 | 201773 | 203877 | 204163 | 205353 | 206529 | 208924 | 209050 | 211733 | 213455 | 216578 | 218886 | 219443 | 220998 | 223420 | 224165 | 225453 | 228367 | 230148 | 231213 | 234287 | 234626 | 236921 | 239843
E7 | 2305 | 31089 | 56486 | 73246 | 88825 | 107050 | 123158 | 69814 | 127620 | 145400 | 157003 | 165575 | 171718 | 177557 | 184168 | 188273 | 191672 | 195465 | 198696 | 201632 | 202698 | 203160 | 205079 | 206736 | 210379 | 211105 | 213406 | 215540 | 216521 | 218573 | 220266 | 222776 | 224611 | 227210 | 230007 | 233456 | 234346 | 236128 | 238357 | 240479 | 243247 | 245027 | 247509 | 250669 | 253275 | 256887 | 259897
E8 | 2407 | 29378 | 55073 | 72851 | 90217 | 110111 | 127390 | 71456 | 132404 | 152102 | 165555 | 174765 | 182608 | 189315 | 195023 | 201447 | 204140 | 209628 | 211931 | 215024 | 216701 | 218323 | 220193 | 222667 | 224676 | 227427 | 228683 | 231894 | 231361 | 234535 | 237760 | 240059 | 242077 | 246182 | 248446 | 252196 | 253604 | 257489 | 258828 | 260056 | 264106 | 266060 | 269245 | 271334 | 275175 | 280357 | 283233
E9 | 2064 | 26905 | 51342 | 72011 | 87183 | 106490 | 124373 | 71279 | 130014 | 148163 | 161316 | 170469 | 178279 | 183943 | 190546 | 194497 | 199693 | 202737 | 206124 | 209385 | 211410 | 211722 | 213443 | 217050 | 217141 | 218838 | 220605 | 220963 | 224116 | 225854 | 228115 | 229595 | 233202 | 234472 | 238634 | 241252 | 244096 | 245325 | 247902 | 250263 | 251883 | 254672 | 257462 | 260510 | 264405 | 266433 | 271048
E10 | 1853 | 31681 | 64770 | 81278 | 101443 | 120468 | 138303 | 82030 | 139934 | 169265 | 185506 | 195095 | 204683 | 210244 | 216648 | 222578 | 228719 | 233404 | 235822 | 239311 | 241766 | 243298 | 244981 | 247190 | 249190 | 251295 | 252945 | 253936 | 253610 | 254674 | 258734 | 263390 | 265635 | 268544 | 270658 | 273377 | 276375 | 277681 | 279594 | 282841 | 282533 | 285200 | 287738 | 288688 | 291820 | 295139 | 295177
E11 | 1821 | 31424 | 65460 | 80921 | 98376 | 116070 | 131282 | 75843 | 127451 | 158034 | 173248 | 181068 | 188274 | 195431 | 202628 | 207271 | 210345 | 214554 | 218283 | 221885 | 225286 | 226523 | 230895 | 232430 | 232879 | 235653 | 236435 | 236940 | 239250 | 241447 | 242353 | 244848 | 247991 | 250621 | 253499 | 256419 | 260451 | 260906 | 263334 | 265759 | 267198 | 270460 | 273304 | 275745 | 277527 | 282343 | 282671
E12
F1 | 2113 | 36246 | 58087 | 81204 | 101570 | 119178 | 132938 | 77730 | 134388 | 154800 | 167519 | 173663 | 180039 | 185035 | 189451 | 192800 | 195601 | 197659 | 199666 | 199974 | 201035 | 201942 | 203650 | 205019 | 206349 | 208284 | 208806 | 208138 | 210346 | 212714 | 214727 | 217415 | 218143 | 221851 | 223714 | 225644 | 228115 | 230024 | 230670 | 231763 | 231312 | 234317 | 234673 | 236257 | 236459 | 237534 | 238198
F2 | 2135 | 33262 | 68611 | 84667 | 106271 | 123758 | 139279 | 78131 | 138102 | 162185 | 175262 | 181297 | 188092 | 192563 | 196555 | 200227 | 202765 | 204117 | 203691 | 205627 | 205778 | 205781 | 205398 | 205135 | 205285 | 204690 | 203055 | 201728 | 202761 | 202039 | 203536 | 204354 | 205670 | 205442 | 208318 | 208094 | 208255 | 210292 | 209558 | 210809 | 211696 | 211466 | 214196 | 215210 | 216928 | 218325 | 218543
F3 | 2158 | 37793 | 68783 | 83788 | 106405 | 126369 | 144467 | 80240 | 145019 | 170250 | 185644 | 194586 | 202099 | 209004 | 215417 | 219239 | 221596 | 226410 | 227657 | 230793 | 232098 | 232076 | 233728 | 235523 | 236213 | 236760 | 237258 | 237731 | 239297 | 241221 | 243977 | 246664 | 247770 | 251058 | 252561 | 255999 | 258617 | 260144 | 262491 | 264277 | 266041 | 269397 | 271314 | 273360 | 276629 | 278054 | 279808
F4 | 2560 | 39441 | 76359 | 90760 | 111185 | 131012 | 149757 | 83530 | 149134 | 175722 | 190929 | 202058 | 208709 | 214536 | 223757 | 228377 | 232279 | 234034 | 237271 | 241060 | 243920 | 244986 | 247756 | 248043 | 248069 | 251863 | 252775 | 252629 | 255279 | 257563 | 260657 | 263517 | 265319 | 267032 | 269254 | 271479 | 274029 | 276468 | 278639 | 281322 | 285184 | 287448 | 291047 | 294675 | 296708 | 299656 | 301677
F5 | 2595 | 38939 | 77058 | 95040 | 115826 | 134738 | 150584 | 84583 | 148910 | 174633 | 189825 | 197926 | 204087 | 210318 | 215955 | 220469 | 225276 | 228519 | 230593 | 231940 | 236185 | 235317 | 236232 | 238336 | 238731 | 241741 | 242178 | 242925 | 244850 | 246340 | 250281 | 251083 | 254209 | 254755 | 258063 | 260359 | 263049 | 264934 | 267966 | 269542 | 271515 | 274237 | 277412 | 279514 | 282369 | 286459 | 286860
F6 | 2271 | 34438 | 69754 | 85859 | 105849 | 126808 | 139613 | 80437 | 138703 | 162049 | 178431 | 186353 | 193702 | 201053 | 205235 | 210107 | 214365 | 217329 | 220176 | 223934 | 222688 | 224187 | 224702 | 227514 | 227468 | 227113 | 231532 | 235136 | 233143 | 233042 | 235837 | 236740 | 242890 | 246580 | 246707 | 245515 | 249868 | 252891 | 253304 | 257725 | 258208 | 257458 | 262752 | 265302 | 264585 | 268813 | 270989
F7 | 2605 | 30631 | 55907 | 75478 | 94046 | 111511 | 125412 | 72715 | 124866 | 144803 | 157266 | 164473 | 171879 | 177459 | 181874 | 185966 | 188048 | 191686 | 195390 | 197192 | 198469 | 200228 | 201026 | 203040 | 202392 | 205483 | 207914 | 208438 | 208964 | 211775 | 212650 | 215052 | 218352 | 219498 | 222321 | 224100 | 226086 | 229381 | 233126 | 234827 | 236699 | 239604 | 241646 | 245050 | 247300 | 250114 | 250877
F8 | 2172 | 27519 | 58240 | 72897 | 88729 | 109239 | 125583 | 70856 | 125311 | 146659 | 161853 | 170485 | 177666 | 185094 | 191637 | 197614 | 202443 | 205297 | 209569 | 214258 | 216784 | 218452 | 218743 | 222872 | 223467 | 224539 | 226283 | 228094 | 228199 | 230062 | 232272 | 233480 | 236239 | 238950 | 241684 | 245781 | 245683 | 248832 | 249885 | 255635 | 255996 | 257845 | 260176 | 264148 | 266750 | 270562 | 274408
F9 | 2099 | 27620 | 53261 | 69285 | 84778 | 103572 | 120131 | 70696 | 124800 | 144266 | 156991 | 166412 | 174278 | 179822 | 186088 | 192362 | 196960 | 198800 | 202920 | 204973 | 206529 | 207960 | 209604 | 210763 | 212612 | 213406 | 214108 | 214937 | 215778 | 218256 | 220512 | 222894 | 224139 | 226894 | 229925 | 230996 | 232327 | 235211 | 237404 | 240306 | 242625 | 244333 | 247460 | 249763 | 251820 | 256092 | 258573
F10 | 1929 | 32201 | 63265 | 79443 | 100503 | 118215 | 134693 | 80747 | 137036 | 167801 | 183312 | 191870 | 199576 | 207893 | 213504 | 220503 | 226182 | 230799 | 233348 | 236667 | 237253 | 241315 | 244169 | 244525 | 248320 | 248581 | 249783 | 252113 | 251405 | 253290 | 254691 | 257173 | 260545 | 261976 | 265279 | 266771 | 269687 | 271375 | 271751 | 275735 | 276259 | 278187 | 281061 | 282542 | 284614 | 286971 | 288907
F11 | 1821 | 29631 | 61870 | 81308 | 101970 | 120840 | 137431 | 78993 | 132854 | 164744 | 184850 | 195450 | 204897 | 212736 | 219213 | 223483 | 228608 | 233640 | 237235 | 240971 | 243485 | 245080 | 247593 | 250860 | 253694 | 253964 | 254692 | 255926 | 255298 | 257765 | 261352 | 264078 | 267882 | 270219 | 271402 | 273545 | 276430 | 278569 | 278730 | 282651 | 283924 | 286759 | 288958 | 291294 | 292980 | 295231 | 296060
F12
G1 | 2667 | 39949 | 67628 | 95388 | 117026 | 134831 | 150729 | 87737 | 149437 | 186922 | 186402 | 192798 | 199945 | 205865 | 209664 | 215028 | 217523 | 221282 | 223288 | 224801 | 225967 | 225024 | 225191 | 228412 | 228850 | 230938 | 229161 | 228529 | 231002 | 233720 | 235129 | 237391 | 238204 | 239872 | 243183 | 244056 | 246234 | 247529 | 247963 | 250181 | 250447 | 252034 | 252518 | 255149 | 253433 | 254154 | 255619
G2 | 1836 | 30515 | 52349 | 69622 | 90854 | 108642 | 123749 | 69867 | 120844 | 169046 | 153496 | 150424 | 150981 | 152952 | 149992 | 145526 | 142805 | 137674 | 131378 | 127263 | 121832 | 118059 | 115231 | 113170 | 112747 | 112113 | 111367 | 111245 | 111946 | 112640 | 114293 | 115493 | 116592 | 117021 | 118235 | 120279 | 121228 | 122175 | 122970 | 124158 | 126024 | 126157 | 127455 | 129375 | 129255 | 130313 | 131767
G3 | 2384 | 39682 | 69022 | 93400 | 119097 | 141434 | 158260 | 90321 | 158263 | 202378 | 195755 | 203308 | 212961 | 221427 | 226049 | 230503 | 235318 | 238508 | 239074 | 242168 | 245102 | 245843 | 246935 | 247509 | 249975 | 250351 | 249731 | 249600 | 255072 | 256371 | 258325 | 263381 | 265614 | 266004 | 271476 | 271250 | 273785 | 273278 | 276348 | 276351 | 279435 | 283449 | 284907 | 287834 | 284165 | 286819 | 289089
G4 | 2516 | 39856 | 74516 | 93148 | 118046 | 137310 | 155206 | 86679 | 149343 | 206588 | 194451 | 198437 | 205352 | 212427 | 219532 | 223320 | 227569 | 230582 | 233773 | 235319 | 238309 | 238389 | 238419 | 239146 | 240118 | 241901 | 241324 | 242078 | 242531 | 243261 | 245662 | 246864 | 246161 | 248765 | 250859 | 251527 | 251932 | 252788 | 253409 | 255069 | 254238 | 256533 | 255494 | 258825 | 258715 | 259180 | 260836
G5 | 2553 | 40234 | 74648 | 94222 | 116189 | 135870 | 153921 | 87422 | 148866 | 199615 | 192043 | 194702 | 203654 | 208683 | 213780 | 218162 | 222883 | 226234 | 228821 | 228361 | 228021 | 227975 | 227881 | 227116 | 228561 | 229544 | 228342 | 225620 | 227294 | 226878 | 226779 | 227809 | 228567 | 228705 | 228804 | 229503 | 229080 | 227954 | 228214 | 228572 | 229320 | 229815 | 229641 | 230480 | 231209 | 233498 | 233989
G6 | 1671 | 27663 | 56647 | 71567 | 91177 | 110007 | 125835 | 71668 | 123673 | 168592 | 162320 | 164849 | 173516 | 179715 | 185937 | 192103 | 197376 | 201647 | 204719 | 207665 | 209378 | 210450 | 211573 | 217257 | 218778 | 223222 | 223604 | 222798 | 225863 | 228729 | 229090 | 230361 | 234175 | 233074 | 236732 | 237774 | 240683 | 241072 | 244033 | 242172 | 244153 | 246732 | 247051 | 249065 | 252055 | 254354 | 255939
G7 | 3030 | 34084 | 65889 | 80327 | 97474 | 115999 | 130605 | 75971 | 120608 | 177586 | 169001 | 169474 | 174683 | 180578 | 183763 | 189558 | 192660 | 195693 | 197907 | 198648 | 201084 | 200342 | 201612 | 202729 | 202517 | 202906 | 202345 | 203136 | 204856 | 205918 | 207086 | 207309 | 210612 | 213150 | 211953 | 213125 | 214915 | 216411 | 216345 | 217013 | 220172 | 220917 | 223434 | 226353 | 228188 | 230641 | 231348
G8 | 2658 | 29196 | 60708 | 71644 | 89042 | 106306 | 123840 | 71358 | 115763 | 174733 | 158200 | 156677 | 158981 | 162643 | 166545 | 165531 | 166653 | 165354 | 163071 | 161831 | 158703 | 156603 | 154408 | 152752 | 150114 | 148833 | 146502 | 144867 | 144525 | 143984 | 144244 | 143717 | 145360 | 145093 | 146316 | 147619 | 147787 | 149650 | 149689 | 151473 | 153201 | 153950 | 156264 | 157427 | 157883 | 160382 | 162872
G9 | 2544 | 32311 | 61565 | 78849 | 98760 | 119453 | 134756 | 79462 | 136809 | 174034 | 167747 | 170106 | 175337 | 182025 | 186594 | 188232 | 190966 | 192801 | 192883 | 193729 | 192905 | 192826 | 192736 | 190672 | 190163 | 189208 | 189134 | 187129 | 186151 | 187174 | 186072 | 185647 | 186377 | 186824 | 188023 | 186624 | 189269 | 188744 | 189506 | 190780 | 189757 | 191675 | 193526 | 194682 | 195255 | 196656 | 198357
G10 | 2356 | 33842 | 68314 | 86372 | 107648 | 128235 | 144681 | 83262 | 138347 | 170111 | 190021 | 201999 | 209563 | 217620 | 224532 | 230783 | 237434 | 245663 | 250976 | 254873 | 257246 | 260049 | 261162 | 263745 | 268208 | 271684 | 270270 | 267753 | 271188 | 272485 | 272264 | 275770 | 280569 | 281687 | 285774 | 288469 | 291608 | 295812 | 297228 | 300713 | 303145 | 305545 | 307856 | 309816 | 309484 | 314126 | 315204
G11 | 2213 | 35511 | 65199 | 84666 | 106487 | 125363 | 143818 | 86013 | 142199 | 172532 | 189159 | 198558 | 206783 | 214444 | 221226 | 228314 | 231754 | 237263 | 239148 | 243128 | 246619 | 244868 | 247166 | 248212 | 248080 | 252103 | 249144 | 246767 | 248418 | 249520 | 247953 | 247733 | 251012 | 250541 | 254147 | 254100 | 255810 | 257080 | 255656 | 258896 | 257709 | 258209 | 260253 | 262374 | 261078 | 261016 | 260521
G12
H1 | 2214 | 37414 | 62152 | 86740 | 107453 | 125077 | 141198 | 86086 | 142307 | 170834 | 173431 | 181570 | 189262 | 195377 | 200517 | 202707 | 207232 | 210972 | 211791 | 213407 | 215095 | 216663 | 217569 | 217836 | 218121 | 218813 | 219594 | 219287 | 219753 | 222567 | 224053 | 225517 | 227522 | 230266 | 231622 | 232255 | 233753 | 234864 | 237012 | 239022 | 239095 | 241895 | 242664 | 243102 | 243802 | 242257 | 244309
H2 | 2332 | 40298 | 67777 | 93145 | 114495 | 132552 | 147114 | 84924 | 136940 | 194265 | 185632 | 188676 | 196047 | 201884 | 207916 | 211941 | 217795 | 222544 | 225334 | 230022 | 230677 | 231938 | 234861 | 237546 | 238774 | 242371 | 241272 | 241647 | 243634 | 247945 | 252098 | 254454 | 256544 | 259758 | 262352 | 264809 | 267145 | 268005 | 270603 | 272897 | 272715 | 276773 | 277555 | 281477 | 281200 | 284222 | 286705
H3 | 2235 | 44392 | 72866 | 98381 | 120794 | 141079 | 155515 | 90333 | 146571 | 205393 | 192130 | 196483 | 203303 | 208890 | 215287 | 219115 | 223883 | 226581 | 230427 | 231351 | 232257 | 232803 | 234643 | 236259 | 237986 | 239276 | 238856 | 239196 | 241631 | 245657 | 247302 | 250063 | 252139 | 253872 | 256601 | 259738 | 261623 | 263283 | 264866 | 265671 | 267696 | 270302 | 272341 | 272940 | 276898 | 277061 | 276507
H4 | 2194 | 37558 | 74656 | 91341 | 113270 | 131321 | 149505 | 82697 | 126220 | 210223 | 191139 | 191690 | 197915 | 205179 | 211485 | 217403 | 222558 | 228490 | 230788 | 234781 | 238025 | 239502 | 243535 | 245955 | 248342 | 251935 | 253537 | 253476 | 257631 | 260110 | 262460 | 265590 | 271046 | 272505 | 273780 | 276953 | 279235 | 280998 | 282876 | 283045 | 283560 | 286276 | 288413 | 292202 | 292779 | 294889 | 297009
H5 | 2088 | 39945 | 70069 | 89775 | 109924 | 128558 | 144247 | 84553 | 137884 | 199784 | 181385 | 183591 | 191068 | 197530 | 204077 | 208276 | 212101 | 218391 | 222234 | 225649 | 227078 | 227803 | 233445 | 235575 | 239383 | 238810 | 238673 | 239358 | 241038 | 245680 | 244223 | 247772 | 249932 | 252683 | 253937 | 256617 | 257929 | 258715 | 260427 | 262019 | 264384 | 263312 | 263763 | 267509 | 269568 | 269499 | 271652
H6 | 2239 | 37777 | 62290 | 78561 | 97944 | 112026 | 126384 | 75214 | 124182 | 153008 | 151371 | 157196 | 161844 | 166991 | 171374 | 175632 | 177979 | 182197 | 183225 | 185019 | 185909 | 185851 | 187648 | 186799 | 187501 | 189815 | 188782 | 190160 | 191440 | 193607 | 194718 | 197890 | 198963 | 199878 | 202524 | 204569 | 204927 | 205167 | 206889 | 206079 | 206716 | 209359 | 211185 | 212236 | 212582 | 214781 | 216130
H7 | 2148 | 31859 | 58198 | 78233 | 99088 | 114826 | 129508 | 75246 | 121070 | 166485 | 161393 | 166997 | 172431 | 178009 | 182767 | 186229 | 190778 | 196167 | 198818 | 202098 | 203640 | 204776 | 208584 | 209839 | 213348 | 216364 | 216611 | 216910 | 219807 | 223126 | 225847 | 228095 | 231629 | 234882 | 237371 | 240857 | 242919 | 244106 | 246533 | 248947 | 249433 | 253792 | 254121 | 257754 | 258319 | 260093 | 262751
H8 | 2339 | 30141 | 54291 | 66679 | 86194 | 102579 | 117178 | 70762 | 114812 | 156437 | 149345 | 153714 | 158779 | 163796 | 169816 | 173060 | 177998 | 182267 | 184753 | 188056 | 189286 | 191586 | 193044 | 193572 | 197136 | 198572 | 198297 | 198770 | 200599 | 202873 | 205138 | 207968 | 210487 | 212186 | 214737 | 216016 | 219212 | 220129 | 221569 | 223580 | 225012 | 227262 | 230022 | 231257 | 233430 | 234907 | 236007
H9 | 2243 | 30122 | 55210 | 68860 | 87140 | 104495 | 121071 | 69334 | 112053 | 166019 | 157386 | 162004 | 167515 | 173788 | 180321 | 183353 | 189930 | 193827 | 199439 | 202312 | 203519 | 208110 | 210779 | 215528 | 217709 | 219782 | 221190 | 222604 | 223196 | 225412 | 228053 | 229031 | 232005 | 234986 | 236377 | 238345 | 241574 | 244854 | 244027 | 246824 | 248262 | 251899 | 252662 | 258005 | 257459 | 258890 | 262714
H10 | 1962 | 33782 | 69311 | 84988 | 104762 | 122601 | 136610 | 81974 | 126481 | 155044 | 172208 | 182371 | 189975 | 195318 | 202033 | 206739 | 211825 | 216923 | 219293 | 223263 | 225658 | 229617 | 230933 | 232104 | 236001 | 238356 | 238424 | 240719 | 240327 | 243991 | 246728 | 248886 | 251080 | 255239 | 257722 | 261605 | 264524 | 267532 | 265963 | 268728 | 268156 | 272308 | 275840 | 277912 | 278384 | 281946 | 281064
H11 | 2499 | 40003 | 71569 | 87892 | 107342 | 123292 | 135671 | 79890 | 124723 | 150485 | 166098 | 175069 | 181582 | 189490 | 194930 | 196875 | 202811 | 205235 | 209089 | 211445 | 214655 | 216070 | 219064 | 220497 | 221488 | 224534 | 224330 | 224373 | 226569 | 228954 | 233282 | 234626 | 235754 | 239829 | 241464 | 245871 | 248193 | 248814 | 249964 | 250538 | 251132 | 254452 | 255137 | 258428 | 258842 | 260377 | 261069
H12
End Time |  |  |  | 2018-01-08 15:16:51
Warning | Execution of 'masterkurs2018_n2a_differentiated' was interupted by the user.

## Results Day 2
Method name: masterkurs2018_n2a_undifferentiated
Application: SparkControl |  |  |  | 1.1
Device: SPARK 10M |  |  |  | Serial number: 1511007580
Firmware: |  |  |  | LUM:V4.0.22¦ABS:V4.2.9¦ABS_MEX:V4.1.7¦MTP:V9.0.18¦FLUOR:V4.2.12¦GCM:V3.0.2
Date: |  |  |  | 2018-01-10
Time: |  |  |  | 11:00
System |  |  |  | PC-2WPML82
User |  |  |  | NT-AUTORITÄT\NETZWERKDIENST
Plate |  |  |  | [GRE96fw_chimney] - Greiner 96 Flat White [GRE96fw_chimney]
Lid lifter |  |  |  | Removable lid
Humidity Cassette |  |  |  | No humidity cassette
List of actions in this measurement script:
Plate
Temperature
Gas
User intervention
Kinetic
|  | Luminescence |  |  |  | RTG
Condition
User intervention
Plate layout
Name |  |  |  | GRE96fw_chimney
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Wait minimum |  |  |  | 36.5 | °C
Wait maximum |  |  |  | 37.5 | °C
Gas control |  |  |  | CO2
CO2 target value |  |  |  | 5 | %
CO2 wait minimum |  |  |  | 4.5 | %
CO2 wait maximum |  |  |  | 5.5 | %
User intervention text |  |  |  | Start assay
Mode | Kinetic
Kinetic cycles |  |  |  | 49
Interval time |  |  |  | 00:30:00
Mode | Luminescence
Attenuation |  |  |  | None
Settle time |  |  |  | 0 | ms
Integration time |  |  |  | 1000 | ms
Output |  |  |  | Counts / s
Part of Plate |  |  |  | A1-D12;E1-H11
Mode | Condition
Type |  |  |  | Start at cycle
Executed once
Operation |  |  |  | at cycle 7
User intervention text |  |  |  | Add glutamate
Start Time |  |  |  | 2018-01-09 12:06:24
RTG
Cycle Nr. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46
Time [s] | 0 | 1799.19 | 3599.113 | 5399.02 | 7198.93 | 8998.857 | 10798.762 | 12599.109 | 14398.615 | 16198.522 | 17998.449 | 19798.343 | 21598.262 | 23398.189 | 25198.092 | 26998.006 | 28797.913 | 30597.838 | 32397.734 | 34197.652 | 35997.578 | 37797.477 | 39597.394 | 41397.319 | 43197.228 | 44997.134 | 46797.051 | 48596.985 | 50396.893 | 52196.803 | 53996.71 | 55796.636 | 57596.545 | 59396.452 | 61196.376 | 62996.289 | 64796.194 | 66596.119 | 68396.024 | 70195.936 | 71995.844 | 73795.766 | 75595.695 | 77395.602 | 79195.51 | 80995.418
CO2 % | 4.6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
O2 % | 19.7 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6
Temp. [°C] | 37.14 | 37.22 | 36.94 | 36.98 | 37.13 | 37.04 | 36.95 | 37.04 | 37.06 | 37.09 | 37.04 | 37.09 | 37.1 | 36.89 | 37.11 | 37.11 | 37.18 | 36.93 | 37.11 | 36.9 | 36.97 | 37.07 | 37.02 | 36.96 | 36.97 | 37.18 | 37.05 | 37.05 | 36.92 | 37 | 36.91 | 37.02 | 37.07 | 37.09 | 37.05 | 37.14 | 37.02 | 37.15 | 36.96 | 37.08 | 37.11 | 36.89 | 36.94 | 36.95 | 36.97 | 36.94
A1 | 10034 | 97368 | 126066 | 141892 | 155011 | 163510 | 170826 | 161774 | 168257 | 173611 | 176724 | 180054 | 181566 | 183237 | 186245 | 187365 | 188649 | 189592 | 190150 | 192339 | 193273 | 194040 | 196191 | 196382 | 197827 | 199204 | 201605 | 204027 | 205849 | 209747 | 211561 | 213064 | 213334 | 217905 | 219198 | 223368 | 225682 | 228153 | 231551 | 234240 | 238158 | 240544 | 241493 | 245690 | 250813 | 252811
A2 | 7657 | 89479 | 118062 | 134308 | 146688 | 155443 | 162813 | 157191 | 162912 | 170512 | 172601 | 175695 | 177455 | 180887 | 182096 | 184457 | 185685 | 187034 | 189147 | 190243 | 191661 | 193595 | 195742 | 197682 | 198430 | 201558 | 204080 | 206091 | 208625 | 209712 | 213011 | 214636 | 217165 | 219538 | 222345 | 225924 | 228508 | 231108 | 234011 | 236633 | 238829 | 242137 | 244774 | 247886 | 252496 | 254710
A3 | 10912 | 110434 | 143314 | 154252 | 168598 | 178200 | 185931 | 171558 | 185406 | 188440 | 195486 | 197187 | 200105 | 202272 | 204645 | 206508 | 206912 | 207379 | 209815 | 210467 | 211946 | 212251 | 215155 | 215502 | 217600 | 219314 | 222452 | 224671 | 226606 | 230133 | 232849 | 234715 | 237802 | 240736 | 243796 | 248398 | 250332 | 253334 | 258065 | 261175 | 264875 | 267164 | 270543 | 273532 | 278793 | 281692
A4 | 6443 | 54908 | 72393 | 76916 | 85744 | 93016 | 96928 | 89186 | 97961 | 101082 | 103120 | 104653 | 107663 | 109708 | 112145 | 112808 | 114285 | 114834 | 116779 | 117464 | 119985 | 120215 | 122040 | 123280 | 124921 | 127379 | 128161 | 130375 | 132214 | 135367 | 137104 | 139708 | 141699 | 144285 | 146511 | 148974 | 150958 | 152913 | 156527 | 158327 | 161166 | 164307 | 167410 | 168836 | 171842 | 176294
A5 | 8382 | 96831 | 127496 | 147692 | 161788 | 173119 | 180117 | 167550 | 180895 | 184813 | 188432 | 192840 | 196053 | 197674 | 198262 | 201235 | 202686 | 203619 | 204514 | 206013 | 207415 | 208375 | 210268 | 211159 | 212028 | 214272 | 215922 | 218135 | 218823 | 221470 | 223465 | 226296 | 229392 | 230172 | 233968 | 236998 | 238785 | 241518 | 245598 | 247054 | 250535 | 253638 | 256280 | 259542 | 262394 | 266194
A6 | 11945 | 122960 | 169672 | 187543 | 202505 | 214787 | 221221 | 205054 | 222305 | 230290 | 234368 | 236993 | 240784 | 243307 | 245057 | 248365 | 248281 | 249861 | 251694 | 254289 | 252944 | 254830 | 256973 | 259860 | 262020 | 264965 | 265796 | 267988 | 269827 | 272174 | 275395 | 278123 | 281467 | 284588 | 287137 | 290338 | 292829 | 298217 | 300431 | 303929 | 307777 | 311973 | 316742 | 319240 | 322870 | 326344
A7 | 9575 | 92267 | 131529 | 150732 | 167554 | 178258 | 185607 | 170784 | 183321 | 189322 | 193245 | 195414 | 198278 | 198823 | 201614 | 203899 | 204981 | 205768 | 205996 | 206282 | 208951 | 209376 | 210890 | 212073 | 214067 | 215727 | 217960 | 219260 | 221427 | 222611 | 225799 | 228945 | 229912 | 233338 | 235576 | 238549 | 242115 | 244420 | 246831 | 249616 | 253312 | 255174 | 260212 | 262080 | 267062 | 270141
A8 | 11742 | 114048 | 160201 | 181714 | 200971 | 213541 | 220733 | 209102 | 223486 | 227653 | 231847 | 235079 | 236650 | 238702 | 241754 | 243211 | 243819 | 244436 | 245021 | 247068 | 247565 | 247093 | 248516 | 250970 | 251729 | 251847 | 252744 | 254901 | 256958 | 259815 | 261725 | 264159 | 265594 | 267196 | 271248 | 273394 | 276287 | 279734 | 282216 | 284472 | 287666 | 291146 | 293606 | 297745 | 301895 | 304243
A9 | 10179 | 92237 | 134414 | 151688 | 170237 | 182430 | 187816 | 179107 | 186502 | 192956 | 198397 | 199618 | 202887 | 204041 | 207678 | 208814 | 209586 | 210974 | 211043 | 213075 | 214406 | 214837 | 215907 | 218108 | 219272 | 220988 | 221742 | 223393 | 225592 | 227891 | 231027 | 232889 | 235239 | 237700 | 241141 | 244241 | 246572 | 247506 | 253026 | 254666 | 257909 | 262151 | 263909 | 267781 | 270896 | 274987
A10 | 8743 | 93500 | 130822 | 139398 | 155146 | 165743 | 173181 | 168846 | 180303 | 185733 | 189954 | 193020 | 195912 | 197516 | 200790 | 203326 | 205099 | 206738 | 208369 | 210270 | 213184 | 213646 | 216544 | 218727 | 221296 | 224373 | 226670 | 229553 | 230880 | 234789 | 237983 | 240418 | 243273 | 246030 | 249976 | 254105 | 256789 | 259791 | 262817 | 266350 | 269676 | 270844 | 275107 | 279922 | 281628 | 284112
A11 | 8483 | 91819 | 126548 | 138684 | 154458 | 164937 | 171380 | 172136 | 180031 | 184089 | 187002 | 192013 | 192900 | 194739 | 196402 | 198921 | 199191 | 200945 | 202953 | 203562 | 204832 | 207100 | 208643 | 210146 | 213460 | 216030 | 216592 | 218451 | 221117 | 223772 | 226171 | 229082 | 230596 | 233909 | 236268 | 238535 | 240912 | 244061 | 247018 | 249537 | 252471 | 255447 | 258940 | 261616 | 263348 | 266614
A12 | 460 | 543 | 444 | 514 | 612 | 647 | 594 | 720 | 786 | 809 | 888 | 962 | 1013 | 1064 | 1112 | 1125 | 1270 | 1273 | 1396 | 1456 | 1411 | 1421 | 1458 | 1579 | 1621 | 1513 | 1630 | 1556 | 1674 | 1780 | 1685 | 1801 | 1843 | 1866 | 1813 | 1876 | 1972 | 1987 | 1946 | 1924 | 2019 | 2054 | 2173 | 2179 | 2280 | 2262
B1 | 11424 | 102315 | 130109 | 142783 | 155220 | 164161 | 169870 | 163267 | 169811 | 175250 | 178515 | 181584 | 183033 | 185150 | 186706 | 190165 | 189946 | 191007 | 192368 | 193593 | 196008 | 195278 | 197375 | 199481 | 201532 | 203085 | 203401 | 206607 | 209928 | 211164 | 213807 | 216768 | 219423 | 221657 | 226246 | 229527 | 230874 | 235055 | 240399 | 242346 | 245444 | 249426 | 253359 | 255625 | 259420 | 262935
B2 | 9378 | 95877 | 128671 | 139375 | 151115 | 159564 | 166192 | 159205 | 167191 | 171615 | 174262 | 177030 | 179650 | 181599 | 183261 | 185036 | 186318 | 187115 | 188670 | 189782 | 191288 | 193002 | 193994 | 194929 | 197345 | 198931 | 200813 | 202729 | 206055 | 208988 | 210578 | 213728 | 215594 | 218614 | 222073 | 224774 | 228308 | 231362 | 233749 | 237824 | 239025 | 244162 | 246792 | 249263 | 252964 | 256320
B3 | 13244 | 122880 | 166119 | 182352 | 197894 | 205268 | 212582 | 203843 | 210556 | 218763 | 223075 | 226621 | 228521 | 231563 | 234108 | 235529 | 236421 | 236890 | 238971 | 239051 | 241742 | 242594 | 244287 | 245594 | 247153 | 250156 | 252359 | 258936 | 261752 | 264437 | 266344 | 267525 | 271573 | 274869 | 277868 | 281524 | 285115 | 289207 | 290661 | 294835 | 297774 | 301863 | 305290 | 308817 | 312636 | 316944
B4 | 12734 | 134950 | 183500 | 204759 | 222860 | 234919 | 243772 | 225988 | 244113 | 246825 | 252700 | 255395 | 258119 | 260969 | 262407 | 263930 | 264835 | 265881 | 266887 | 268712 | 269704 | 271402 | 272471 | 272939 | 275037 | 275982 | 278158 | 280820 | 283652 | 284422 | 287335 | 289753 | 291948 | 294168 | 297206 | 300526 | 303687 | 307500 | 309458 | 313675 | 317000 | 320363 | 324745 | 327441 | 331054 | 335664
B5 | 5207 | 60350 | 83979 | 90806 | 98891 | 105454 | 110080 | 102606 | 111654 | 113418 | 116329 | 117656 | 119255 | 122355 | 123000 | 125041 | 125514 | 126772 | 127616 | 129082 | 129622 | 131473 | 132161 | 133457 | 135168 | 136745 | 137276 | 140092 | 141535 | 142752 | 145666 | 146510 | 148054 | 150614 | 153081 | 155158 | 157579 | 159772 | 161779 | 163999 | 166902 | 169259 | 172344 | 174056 | 175995 | 179526
B6 | 9971 | 109774 | 150442 | 170196 | 185891 | 197696 | 204968 | 191489 | 203375 | 210142 | 214797 | 217628 | 220261 | 222765 | 223970 | 226611 | 227234 | 228490 | 229716 | 229880 | 232231 | 231455 | 232311 | 233841 | 235229 | 237227 | 238669 | 240005 | 241720 | 244407 | 246042 | 249800 | 251672 | 254708 | 257328 | 259895 | 262744 | 264910 | 266528 | 270471 | 273156 | 276418 | 280847 | 282773 | 286463 | 289192
B7 | 10937 | 99503 | 144141 | 167975 | 187498 | 200094 | 206460 | 193352 | 204436 | 210916 | 215633 | 218102 | 221038 | 222944 | 224979 | 227753 | 227527 | 228601 | 229347 | 229032 | 231235 | 231887 | 232745 | 234179 | 235107 | 237399 | 238662 | 240983 | 243336 | 245028 | 247298 | 250265 | 252043 | 255727 | 258166 | 261584 | 263648 | 265899 | 268216 | 270934 | 274783 | 277458 | 280569 | 283051 | 287923 | 289652
B8 | 10882 | 97818 | 141306 | 161272 | 180713 | 193347 | 201977 | 191079 | 200178 | 206501 | 210914 | 214193 | 216763 | 218796 | 221880 | 222001 | 224393 | 224564 | 223894 | 226216 | 228118 | 227385 | 229970 | 231030 | 232274 | 233266 | 233924 | 236415 | 237672 | 240710 | 243700 | 245072 | 247814 | 249819 | 253160 | 254560 | 256906 | 259664 | 262182 | 264913 | 267088 | 271192 | 274118 | 277242 | 280053 | 282662
B9 | 8493 | 88825 | 131443 | 150114 | 166988 | 178714 | 186390 | 176939 | 186675 | 192600 | 197151 | 199568 | 201593 | 204040 | 207068 | 208505 | 208840 | 209478 | 210273 | 209409 | 208099 | 210452 | 209438 | 211402 | 213307 | 214718 | 215806 | 217674 | 219627 | 221530 | 223337 | 225664 | 227666 | 230239 | 233247 | 235810 | 238600 | 240254 | 242847 | 245567 | 248421 | 251821 | 255074 | 259189 | 261485 | 263860
B10 | 7838 | 98309 | 143655 | 157278 | 174423 | 185927 | 193981 | 194673 | 202932 | 208174 | 212840 | 216436 | 218249 | 220252 | 222450 | 226231 | 226564 | 227839 | 229549 | 231554 | 233423 | 234613 | 236797 | 237883 | 239898 | 241661 | 243278 | 245982 | 248553 | 250876 | 253666 | 255761 | 257900 | 261476 | 264159 | 267350 | 270523 | 273689 | 275898 | 279902 | 282460 | 285463 | 286766 | 291000 | 293793 | 295900
B11 | 9098 | 104293 | 148567 | 165057 | 183650 | 194633 | 203231 | 206748 | 211157 | 216601 | 222116 | 225472 | 228530 | 231888 | 234769 | 236031 | 238190 | 238869 | 241343 | 244661 | 246103 | 248000 | 248096 | 251481 | 253458 | 255222 | 257115 | 260881 | 262165 | 264509 | 267831 | 270062 | 272420 | 276109 | 279817 | 282004 | 285619 | 288987 | 291295 | 295013 | 297847 | 301240 | 303441 | 305716 | 309558 | 313244
B12 | 425 | 575 | 556 | 568 | 623 | 708 | 778 | 828 | 869 | 898 | 973 | 919 | 1015 | 1160 | 1134 | 1156 | 1285 | 1290 | 1209 | 1287 | 1338 | 1426 | 1450 | 1440 | 1504 | 1491 | 1606 | 1632 | 1617 | 1607 | 1674 | 1709 | 1672 | 1702 | 1761 | 1817 | 1872 | 1879 | 1852 | 1865 | 2001 | 1936 | 2127 | 1987 | 2096 | 2114
C1 | 10168 | 81405 | 102972 | 112852 | 125464 | 133985 | 139831 | 134973 | 142709 | 143843 | 146371 | 149566 | 151429 | 152594 | 155424 | 155588 | 156738 | 156845 | 158562 | 159095 | 160148 | 160620 | 161527 | 161273 | 162194 | 164022 | 162993 | 165417 | 165056 | 166466 | 168413 | 167521 | 168574 | 171079 | 171617 | 173480 | 175412 | 176124 | 178458 | 180257 | 183001 | 185313 | 184887 | 188669 | 191209 | 192351
C2 | 8976 | 92672 | 128228 | 136289 | 149455 | 158600 | 163161 | 158839 | 170257 | 173221 | 176564 | 177566 | 180230 | 180667 | 184225 | 185184 | 185954 | 186976 | 188110 | 189398 | 189187 | 189897 | 191377 | 191943 | 192857 | 194790 | 195920 | 196622 | 197591 | 198191 | 198649 | 200100 | 201087 | 203153 | 204901 | 207014 | 207985 | 210190 | 212231 | 213785 | 215315 | 217888 | 219911 | 223415 | 225205 | 228664
C3 | 10745 | 100557 | 137242 | 145244 | 159313 | 169418 | 175773 | 168226 | 180134 | 182411 | 184354 | 186636 | 189533 | 191771 | 193890 | 196210 | 197386 | 197731 | 198403 | 200470 | 200645 | 202197 | 202922 | 203471 | 206226 | 205730 | 207690 | 208910 | 209693 | 209843 | 212740 | 213727 | 214494 | 216318 | 217950 | 220318 | 220916 | 223415 | 225963 | 228119 | 230336 | 233626 | 236038 | 238892 | 240666 | 243405
C4 | 9456 | 105389 | 148959 | 163657 | 181596 | 192060 | 200469 | 187446 | 202107 | 204790 | 208073 | 212400 | 215439 | 217883 | 219823 | 221183 | 222208 | 222618 | 223896 | 225962 | 226198 | 226782 | 228272 | 228927 | 229827 | 231914 | 231720 | 234119 | 234052 | 237386 | 236556 | 238438 | 240686 | 242210 | 242539 | 245673 | 247034 | 248575 | 252197 | 253052 | 255700 | 258628 | 260693 | 264027 | 266213 | 269877
C5 | 8965 | 85227 | 114947 | 127279 | 139827 | 148680 | 155753 | 147530 | 159919 | 163641 | 164789 | 167998 | 170380 | 171934 | 174509 | 175169 | 176736 | 177752 | 178665 | 180112 | 181016 | 181942 | 183110 | 184876 | 185372 | 185686 | 186781 | 187942 | 187786 | 189559 | 192968 | 193269 | 195901 | 195968 | 197456 | 199756 | 200029 | 202634 | 203583 | 204288 | 207471 | 210607 | 211978 | 212626 | 215784 | 217458
C6 | 7235 | 94952 | 144689 | 165244 | 186645 | 200043 | 210463 | 195855 | 212886 | 218418 | 222076 | 225883 | 229356 | 230983 | 234770 | 236098 | 238986 | 238740 | 239265 | 241894 | 242260 | 242854 | 244932 | 245434 | 246836 | 247078 | 248798 | 249769 | 251247 | 252394 | 253405 | 254175 | 255901 | 256757 | 259203 | 260912 | 263632 | 264325 | 265823 | 268133 | 270103 | 273462 | 275993 | 276612 | 280981 | 284640
C7 | 9422 | 96806 | 149828 | 171949 | 192553 | 205571 | 215711 | 201889 | 217835 | 222916 | 223785 | 226836 | 229072 | 230519 | 232989 | 234234 | 235196 | 235674 | 236615 | 238139 | 238232 | 238790 | 239724 | 239780 | 241253 | 241438 | 241849 | 243650 | 245525 | 245612 | 247137 | 245895 | 247144 | 250377 | 250726 | 252003 | 254478 | 256185 | 257080 | 259829 | 261567 | 263294 | 265884 | 267540 | 269072 | 272781
C8 | 9407 | 89377 | 132826 | 152748 | 172778 | 185016 | 194400 | 182261 | 196318 | 200288 | 202117 | 204857 | 207060 | 212146 | 213539 | 214037 | 215440 | 216047 | 218058 | 217536 | 218435 | 218946 | 219284 | 220262 | 222053 | 222272 | 223135 | 223642 | 225271 | 225675 | 226815 | 227906 | 228062 | 228260 | 231566 | 233801 | 234521 | 235844 | 237258 | 239894 | 240886 | 244286 | 245862 | 246285 | 249379 | 251501
C9 | 9178 | 85167 | 130268 | 146054 | 165066 | 177382 | 185441 | 177996 | 189411 | 192928 | 195479 | 197310 | 200247 | 200907 | 204188 | 206046 | 207555 | 206986 | 207953 | 208651 | 209940 | 210279 | 210832 | 211049 | 211782 | 212464 | 213389 | 215294 | 215063 | 215755 | 217263 | 217229 | 218665 | 220446 | 220009 | 222480 | 224169 | 225376 | 226866 | 228239 | 230256 | 231803 | 233256 | 234724 | 238081 | 240293
C10 | 8098 | 91309 | 133836 | 148195 | 165080 | 175890 | 183836 | 184272 | 191392 | 197970 | 202713 | 207073 | 208684 | 210330 | 212986 | 216486 | 218196 | 219256 | 219712 | 222908 | 224258 | 227071 | 228889 | 231376 | 233277 | 235057 | 237253 | 239395 | 242872 | 245036 | 247958 | 250066 | 252624 | 255310 | 260490 | 262519 | 265737 | 268441 | 272073 | 274806 | 278020 | 280382 | 284686 | 287019 | 289915 | 293987
C11 | 6325 | 72988 | 107044 | 117991 | 132228 | 142781 | 151081 | 155007 | 159519 | 164058 | 168635 | 172339 | 173837 | 176055 | 178238 | 180606 | 181044 | 183492 | 184379 | 185342 | 187814 | 188980 | 189820 | 192273 | 193605 | 196037 | 197072 | 199608 | 201691 | 204238 | 206534 | 209120 | 211455 | 213714 | 216432 | 218329 | 221390 | 224744 | 227298 | 230345 | 232083 | 235182 | 238211 | 241557 | 244824 | 247327
C12 | 496 | 1272 | 1505 | 1612 | 1916 | 1982 | 2234 | 2370 | 2511 | 2729 | 2892 | 3008 | 3078 | 3298 | 3436 | 3491 | 3664 | 3753 | 3901 | 3878 | 3867 | 4042 | 4136 | 4156 | 4362 | 4431 | 4410 | 4593 | 4564 | 4732 | 4721 | 4911 | 5018 | 5080 | 5073 | 5258 | 5337 | 5410 | 5458 | 5518 | 5527 | 5752 | 5953 | 6029 | 6012 | 6148
D1 | 13896 | 115323 | 141851 | 159344 | 173846 | 183707 | 190923 | 189021 | 196145 | 201385 | 203501 | 205267 | 207966 | 210679 | 212743 | 214313 | 215882 | 215060 | 215797 | 217181 | 217746 | 219982 | 219483 | 219847 | 222156 | 222594 | 223761 | 225187 | 227083 | 226618 | 229337 | 229283 | 230874 | 233138 | 236231 | 237911 | 241593 | 242980 | 245377 | 248664 | 249874 | 253337 | 258139 | 260968 | 263054 | 267502
D2 | 11668 | 104509 | 139724 | 151259 | 164383 | 173663 | 180733 | 173734 | 183352 | 188110 | 189701 | 193320 | 195012 | 197149 | 199942 | 200009 | 201547 | 202283 | 202240 | 204502 | 204173 | 206504 | 206588 | 207542 | 208808 | 210650 | 210609 | 211066 | 212675 | 214921 | 215331 | 215741 | 216517 | 219440 | 220155 | 223946 | 224538 | 226374 | 228455 | 231618 | 232521 | 234727 | 238178 | 239413 | 242748 | 245947
D3 | 12199 | 98875 | 134825 | 146745 | 159266 | 169386 | 176112 | 166250 | 177348 | 182932 | 185252 | 187129 | 189321 | 191217 | 193683 | 195183 | 196798 | 196405 | 197070 | 198556 | 200140 | 199760 | 200720 | 201777 | 203222 | 203078 | 205086 | 206947 | 206850 | 208347 | 209115 | 210791 | 212440 | 214039 | 214008 | 217708 | 218784 | 220837 | 223616 | 225535 | 228858 | 230142 | 232614 | 235567 | 238437 | 240027
D4 | 12223 | 126964 | 170459 | 191002 | 207549 | 219071 | 229576 | 216134 | 229620 | 234887 | 237282 | 242306 | 244424 | 247938 | 250914 | 253305 | 253146 | 255230 | 256294 | 256684 | 258394 | 259265 | 259341 | 261655 | 260628 | 262763 | 264532 | 265528 | 266221 | 267065 | 269352 | 270883 | 271374 | 273580 | 275134 | 276316 | 279481 | 281478 | 283705 | 285324 | 286700 | 290344 | 292967 | 295092 | 298283 | 301101
D5 | 11296 | 111731 | 150805 | 169708 | 184370 | 194326 | 205565 | 193518 | 208460 | 213383 | 214372 | 216758 | 221114 | 223102 | 226334 | 226689 | 228158 | 229073 | 229553 | 231480 | 231928 | 232947 | 234769 | 236026 | 235746 | 237496 | 238422 | 239856 | 240808 | 241751 | 244083 | 243827 | 245395 | 247009 | 249401 | 251479 | 253557 | 254954 | 257706 | 258573 | 262310 | 263252 | 267382 | 269707 | 273063 | 275448
D6 | 11365 | 112462 | 164867 | 188004 | 206242 | 218978 | 227862 | 217618 | 233173 | 238435 | 241158 | 245169 | 246574 | 252616 | 254449 | 258253 | 257736 | 258740 | 259778 | 260377 | 263369 | 263678 | 264925 | 267589 | 270454 | 269263 | 270186 | 272352 | 273690 | 274497 | 276917 | 278400 | 280988 | 282272 | 285794 | 286242 | 288857 | 291016 | 292700 | 294897 | 297478 | 299579 | 302151 | 304476 | 308129 | 312231
D7 | 9478 | 80931 | 121258 | 138451 | 154915 | 166930 | 175102 | 166652 | 178970 | 183116 | 185484 | 188229 | 189959 | 191630 | 194673 | 195609 | 197408 | 198903 | 198685 | 200325 | 200625 | 201569 | 202059 | 202542 | 205112 | 205720 | 205651 | 206939 | 207395 | 208624 | 208996 | 210269 | 212227 | 213205 | 214399 | 217088 | 217879 | 218138 | 221496 | 222612 | 224912 | 225832 | 227944 | 230968 | 234033 | 237190
D8 | 10535 | 94778 | 139925 | 159726 | 177308 | 188954 | 197204 | 187523 | 199923 | 205726 | 207879 | 208888 | 212148 | 214128 | 216119 | 217279 | 218844 | 218734 | 219055 | 219174 | 220474 | 220835 | 220694 | 222436 | 222574 | 223682 | 225006 | 225785 | 226536 | 226344 | 225337 | 227558 | 227934 | 230730 | 229872 | 233421 | 235732 | 235840 | 237914 | 240032 | 240554 | 244031 | 245507 | 246878 | 250380 | 253079
D9 | 10069 | 84821 | 125054 | 144000 | 164769 | 177814 | 187226 | 180877 | 189154 | 196581 | 198080 | 201778 | 204524 | 206785 | 209043 | 210307 | 213230 | 213645 | 214666 | 216035 | 217717 | 217056 | 218184 | 219444 | 219678 | 220450 | 220681 | 222543 | 223082 | 222950 | 224252 | 224874 | 223928 | 225334 | 226474 | 227434 | 229827 | 232144 | 234355 | 235330 | 236803 | 239084 | 241533 | 243441 | 245593 | 247420
D10 | 12802 | 112275 | 155696 | 181333 | 199669 | 212831 | 222228 | 213273 | 226589 | 236994 | 245295 | 249347 | 252636 | 256870 | 261761 | 265982 | 267566 | 269452 | 271654 | 268059 | 270721 | 272624 | 276651 | 277649 | 279035 | 283606 | 287369 | 288746 | 292976 | 294589 | 299256 | 300589 | 305752 | 310392 | 313630 | 318088 | 321142 | 324021 | 327826 | 330156 | 334532 | 339204 | 343499 | 347138 | 349538 | 353340
D11 | 10246 | 96097 | 140612 | 164939 | 186302 | 199301 | 208783 | 217447 | 222025 | 229186 | 234684 | 239237 | 241651 | 245651 | 248148 | 250636 | 253530 | 254966 | 256039 | 258124 | 259390 | 262488 | 263780 | 265024 | 267451 | 270887 | 273243 | 275305 | 276912 | 279874 | 283238 | 286566 | 289477 | 292160 | 297372 | 300917 | 304390 | 308217 | 312189 | 316054 | 318748 | 324297 | 327470 | 333617 | 336117 | 342082
D12 | 461 | 393 | 364 | 383 | 428 | 466 | 469 | 622 | 592 | 608 | 673 | 699 | 747 | 868 | 930 | 919 | 969 | 1032 | 1155 | 1035 | 1126 | 1171 | 1161 | 1293 | 1295 | 1304 | 1298 | 1341 | 1385 | 1306 | 1361 | 1376 | 1412 | 1361 | 1497 | 1574 | 1473 | 1594 | 1640 | 1546 | 1657 | 1694 | 1766 | 1738 | 1719 | 1804
E1 | 13508 | 97358 | 117339 | 135171 | 148540 | 157401 | 162363 | 153139 | 164561 | 171598 | 176002 | 178176 | 181084 | 183172 | 184482 | 187149 | 188734 | 190288 | 191590 | 193349 | 195717 | 197205 | 199120 | 201574 | 203406 | 206570 | 208625 | 211360 | 214744 | 216673 | 219997 | 221952 | 224404 | 229005 | 233073 | 236445 | 239440 | 243282 | 247855 | 249991 | 253322 | 256002 | 258937 | 263328 | 265604 | 268047
E2 | 9613 | 74932 | 100652 | 109209 | 120217 | 127674 | 133051 | 123347 | 133504 | 139800 | 143104 | 145751 | 147410 | 149568 | 152040 | 154111 | 155032 | 156960 | 157700 | 160655 | 161387 | 164547 | 165353 | 167537 | 169361 | 171277 | 174473 | 177114 | 178638 | 181799 | 184043 | 186228 | 189197 | 191827 | 195093 | 198656 | 200617 | 203125 | 205284 | 208958 | 211334 | 213941 | 216334 | 219650 | 222657 | 224714
E3 | 11669 | 100387 | 139662 | 147163 | 161445 | 171053 | 176995 | 160996 | 177257 | 184852 | 189569 | 192606 | 195563 | 197311 | 199804 | 201559 | 204323 | 206200 | 207645 | 209996 | 214479 | 214447 | 214305 | 219392 | 220838 | 223666 | 226274 | 229789 | 231387 | 234855 | 238765 | 241465 | 244678 | 247447 | 251516 | 254518 | 258167 | 262327 | 264460 | 267317 | 270366 | 274666 | 278166 | 280622 | 282101 | 287101
E4 | 10536 | 97252 | 134781 | 160455 | 176512 | 187951 | 196536 | 179301 | 200015 | 205715 | 211852 | 215433 | 219192 | 221181 | 224217 | 227568 | 229354 | 230825 | 232676 | 235744 | 237013 | 239016 | 241864 | 245632 | 246114 | 248605 | 252319 | 254433 | 256034 | 258700 | 262982 | 266073 | 268195 | 271825 | 275664 | 280119 | 283905 | 286407 | 289803 | 292576 | 295229 | 298906 | 304225 | 306623 | 309090 | 312911
E5 | 7448 | 71373 | 98446 | 109248 | 122247 | 130948 | 136902 | 128878 | 140768 | 145646 | 149543 | 151193 | 153476 | 156005 | 159089 | 159798 | 162505 | 163831 | 165466 | 166642 | 169464 | 171245 | 173012 | 175016 | 177015 | 179263 | 180996 | 184513 | 186698 | 189993 | 193133 | 195557 | 198278 | 201029 | 204375 | 207013 | 210678 | 213018 | 217008 | 219497 | 222978 | 225213 | 229152 | 232293 | 235292 | 237234
E6 | 10827 | 118822 | 165760 | 189896 | 210001 | 224014 | 233244 | 219301 | 239541 | 247707 | 253594 | 256682 | 260547 | 262105 | 265260 | 266905 | 269283 | 271301 | 273667 | 276181 | 276918 | 278293 | 280038 | 280871 | 283555 | 285825 | 289134 | 291367 | 294852 | 297281 | 301262 | 301812 | 306444 | 308684 | 313053 | 316252 | 320266 | 323506 | 328583 | 330364 | 333391 | 336723 | 341446 | 342812 | 348128 | 350578
E7 | 11736 | 102431 | 149467 | 176895 | 197414 | 208785 | 217283 | 196697 | 216764 | 222989 | 227479 | 231647 | 233849 | 235832 | 237856 | 240155 | 242055 | 242396 | 244094 | 245441 | 247185 | 248920 | 249888 | 251572 | 253625 | 255741 | 257270 | 261172 | 261956 | 266323 | 269848 | 269837 | 272278 | 276620 | 279860 | 283268 | 286914 | 289641 | 293092 | 295547 | 298784 | 301029 | 305399 | 308390 | 310498 | 314060
E8 | 10882 | 87114 | 123215 | 143873 | 162341 | 173150 | 179939 | 167301 | 180967 | 187365 | 192419 | 195198 | 198983 | 201795 | 204609 | 207594 | 208706 | 210618 | 212741 | 214222 | 216677 | 217540 | 220120 | 221588 | 223917 | 225149 | 227236 | 229195 | 231109 | 233158 | 236713 | 238978 | 240058 | 244279 | 246061 | 249054 | 251837 | 254466 | 257589 | 258780 | 262753 | 266502 | 268922 | 270086 | 273195 | 276618
E9 | 8983 | 73555 | 112014 | 135258 | 152771 | 165018 | 172942 | 165589 | 175684 | 182918 | 187130 | 190244 | 194504 | 196835 | 199137 | 201877 | 203347 | 205577 | 205960 | 207734 | 209950 | 211411 | 212517 | 214631 | 216613 | 219173 | 221659 | 223760 | 226464 | 227127 | 229356 | 231620 | 234026 | 236141 | 239636 | 241151 | 245891 | 249183 | 251341 | 254562 | 257140 | 261645 | 263841 | 266113 | 269578 | 271408
E10 | 9992 | 86049 | 125267 | 139009 | 156484 | 169272 | 177669 | 180075 | 186474 | 193903 | 199402 | 203779 | 207353 | 210967 | 213547 | 215524 | 219218 | 219345 | 222278 | 224696 | 225661 | 227937 | 229633 | 231031 | 232656 | 236072 | 239191 | 241106 | 242463 | 246526 | 250076 | 252258 | 253144 | 257887 | 259511 | 264171 | 266980 | 271800 | 274361 | 276051 | 278774 | 284650 | 285812 | 289560 | 292939 | 295935
E11 | 10314 | 88901 | 121434 | 136737 | 152892 | 164134 | 171018 | 167366 | 180253 | 185973 | 190171 | 193906 | 195426 | 198426 | 201643 | 203320 | 203703 | 205231 | 207577 | 208709 | 210485 | 211509 | 213721 | 215926 | 216526 | 218606 | 221252 | 222283 | 224531 | 227275 | 230071 | 231677 | 234248 | 237263 | 239252 | 242191 | 245587 | 248524 | 251379 | 253916 | 255970 | 260354 | 262223 | 267043 | 268803 | 271327
E12
F1 | 18428 | 126905 | 150543 | 179898 | 196854 | 205773 | 213717 | 199184 | 213754 | 221120 | 226705 | 230988 | 233471 | 236709 | 237571 | 243036 | 241958 | 244121 | 246200 | 248352 | 249538 | 251269 | 252628 | 256428 | 257335 | 259702 | 263393 | 266228 | 267667 | 272614 | 274787 | 276678 | 279592 | 285257 | 288672 | 293579 | 296574 | 301632 | 304692 | 307036 | 311876 | 315947 | 318898 | 322897 | 325714 | 331418
F2 | 15110 | 108346 | 135901 | 149031 | 165189 | 173297 | 180778 | 169875 | 181300 | 189265 | 193069 | 197778 | 199666 | 201834 | 204430 | 206191 | 207844 | 209812 | 211900 | 214012 | 214815 | 216185 | 218570 | 221522 | 223128 | 225194 | 227251 | 230751 | 232107 | 236308 | 239926 | 241889 | 245310 | 247663 | 251422 | 255524 | 259690 | 262492 | 266620 | 269619 | 271679 | 274708 | 278363 | 282099 | 285013 | 287784
F3 | 9028 | 69887 | 93518 | 101528 | 112841 | 120168 | 126126 | 118664 | 127993 | 132538 | 136405 | 139495 | 141337 | 144137 | 145275 | 147259 | 147947 | 149631 | 152530 | 154963 | 154869 | 156554 | 158954 | 161193 | 161771 | 164560 | 167759 | 169627 | 171766 | 174897 | 176464 | 178095 | 179911 | 182994 | 186448 | 189783 | 192694 | 193759 | 197918 | 201150 | 203162 | 205903 | 208316 | 210930 | 213806 | 217137
F4 | 9741 | 84585 | 109546 | 131457 | 145631 | 155265 | 162954 | 151330 | 168911 | 174061 | 179029 | 183361 | 186576 | 187763 | 190790 | 192327 | 194007 | 195912 | 198531 | 199377 | 201800 | 203480 | 206347 | 207035 | 209821 | 212438 | 214303 | 216971 | 219901 | 222158 | 224415 | 226381 | 229433 | 233260 | 236040 | 240529 | 244073 | 247884 | 251594 | 253852 | 256823 | 259941 | 264759 | 266601 | 268787 | 272966
F5 | 10004 | 87451 | 117623 | 129971 | 143594 | 151886 | 159540 | 149037 | 162795 | 168662 | 172910 | 176665 | 179103 | 181671 | 183173 | 185826 | 188426 | 189067 | 191422 | 191857 | 194413 | 196063 | 198815 | 201104 | 203176 | 207229 | 207958 | 211927 | 214927 | 217106 | 221281 | 222332 | 226403 | 229281 | 233197 | 236863 | 240510 | 244047 | 248010 | 251430 | 254648 | 258436 | 263621 | 266244 | 269807 | 272809
F6 | 13853 | 122449 | 163729 | 191425 | 211639 | 224097 | 232520 | 217615 | 235595 | 244638 | 249880 | 254539 | 258338 | 259465 | 263833 | 266165 | 267954 | 270726 | 272131 | 274184 | 275119 | 276658 | 278294 | 281967 | 282965 | 286417 | 288486 | 290232 | 292930 | 295283 | 298167 | 300847 | 302775 | 306186 | 309951 | 314042 | 317556 | 321868 | 327459 | 327610 | 330099 | 335344 | 338681 | 343290 | 345421 | 350134
F7 | 11519 | 83692 | 118838 | 144854 | 165353 | 177302 | 186089 | 169825 | 184593 | 193385 | 198615 | 201012 | 204521 | 210607 | 214078 | 216502 | 217068 | 218441 | 220644 | 220709 | 222893 | 223992 | 225549 | 228034 | 229999 | 231447 | 233315 | 235793 | 237328 | 241065 | 241848 | 244951 | 246100 | 251035 | 253513 | 258513 | 261316 | 264153 | 266359 | 268952 | 271096 | 274492 | 278201 | 280813 | 283014 | 286946
F8 | 12629 | 90365 | 132223 | 158356 | 177714 | 190724 | 199586 | 185869 | 201633 | 209823 | 213856 | 217731 | 220184 | 222998 | 226928 | 228071 | 230891 | 231662 | 232288 | 233612 | 235605 | 238474 | 239083 | 240818 | 242400 | 244818 | 247871 | 248135 | 251460 | 254134 | 255902 | 257744 | 260898 | 263227 | 266945 | 270271 | 272350 | 277491 | 279951 | 281858 | 283625 | 287762 | 290305 | 292473 | 297674 | 301233
F9 | 10589 | 87256 | 129936 | 153790 | 175040 | 191550 | 200348 | 187363 | 201261 | 208608 | 213750 | 216737 | 219787 | 222711 | 223711 | 225882 | 228599 | 228938 | 230557 | 231011 | 232903 | 234174 | 235596 | 237582 | 238652 | 240829 | 242417 | 244790 | 247398 | 248377 | 250670 | 253223 | 255010 | 257802 | 262691 | 265689 | 268298 | 271712 | 273965 | 276185 | 279672 | 282584 | 287467 | 289072 | 293193 | 295255
F10 | 13705 | 116145 | 159793 | 179547 | 199535 | 212016 | 220526 | 217223 | 228622 | 234930 | 241075 | 244704 | 249083 | 250442 | 253259 | 256949 | 258951 | 260919 | 261948 | 264545 | 265675 | 267802 | 267923 | 270744 | 273162 | 274133 | 276440 | 278628 | 280749 | 283767 | 285692 | 287757 | 289950 | 292679 | 297028 | 299445 | 303445 | 306297 | 311035 | 313946 | 316200 | 320979 | 323851 | 326096 | 329890 | 331907
F11 | 10800 | 85299 | 111488 | 128745 | 144010 | 154481 | 161644 | 157808 | 170814 | 176412 | 181006 | 183993 | 187543 | 189438 | 192347 | 193847 | 196253 | 197522 | 200556 | 200844 | 202797 | 205122 | 205257 | 207777 | 208410 | 211617 | 213789 | 215673 | 217280 | 220605 | 223177 | 224888 | 227379 | 229017 | 233012 | 236604 | 238072 | 243040 | 246043 | 247970 | 250412 | 255063 | 258265 | 262174 | 264635 | 267560
F12
G1 | 22994 | 142337 | 173233 | 202415 | 220189 | 228812 | 235628 | 224066 | 236819 | 244705 | 251734 | 255848 | 258213 | 260385 | 263394 | 267078 | 268299 | 268449 | 271640 | 273286 | 274691 | 276277 | 278732 | 280322 | 282931 | 285376 | 288556 | 291407 | 293769 | 298100 | 301018 | 302786 | 305908 | 310726 | 314435 | 320716 | 324065 | 328789 | 333291 | 336502 | 341110 | 344912 | 350181 | 356043 | 357329 | 363038
G2 | 14215 | 94089 | 109690 | 130273 | 144186 | 151570 | 156840 | 150567 | 158698 | 165886 | 170224 | 172424 | 177054 | 178254 | 180160 | 183686 | 184230 | 186870 | 188345 | 190268 | 190616 | 193230 | 195167 | 198473 | 198942 | 202884 | 205209 | 207406 | 210237 | 214654 | 216093 | 218420 | 221418 | 224501 | 228965 | 232070 | 234924 | 239065 | 243333 | 245521 | 248691 | 252564 | 255034 | 259533 | 262089 | 265956
G3 | 7746 | 52536 | 63656 | 74630 | 84074 | 89891 | 94237 | 88949 | 96185 | 100329 | 103218 | 106903 | 109045 | 111125 | 112552 | 114519 | 115894 | 116747 | 118674 | 120556 | 121960 | 123634 | 124818 | 127621 | 128791 | 130744 | 133113 | 135135 | 137147 | 139361 | 141329 | 143648 | 145521 | 147525 | 151334 | 153154 | 155466 | 158377 | 160698 | 163267 | 165707 | 168127 | 171344 | 172560 | 176407 | 178692
G4 | 10489 | 71463 | 89027 | 108572 | 119881 | 127967 | 134085 | 123231 | 134772 | 141847 | 145795 | 148631 | 151480 | 153727 | 156571 | 158978 | 160908 | 161819 | 163752 | 165710 | 167612 | 170121 | 170604 | 173446 | 175384 | 177009 | 180713 | 182866 | 185193 | 188273 | 190601 | 193965 | 195227 | 198264 | 202294 | 205420 | 207188 | 211609 | 213948 | 216691 | 219016 | 223096 | 225598 | 229122 | 232884 | 236485
G5 | 7773 | 57777 | 74316 | 91148 | 102629 | 108298 | 114867 | 107419 | 117613 | 121735 | 126085 | 126458 | 130153 | 130078 | 133014 | 133821 | 134563 | 135184 | 136519 | 136607 | 136458 | 137841 | 137667 | 138829 | 139416 | 139412 | 140375 | 142552 | 142369 | 144037 | 144024 | 144726 | 145847 | 147742 | 149107 | 150132 | 151494 | 153604 | 154012 | 156080 | 157728 | 158683 | 160967 | 161133 | 163621 | 163740
G6 | 9160 | 76384 | 105437 | 129854 | 140619 | 146724 | 153998 | 152828 | 163636 | 170486 | 174732 | 178828 | 180979 | 183996 | 187036 | 189540 | 190499 | 191201 | 191712 | 194277 | 195293 | 197745 | 199777 | 201475 | 203036 | 205521 | 206839 | 209903 | 210671 | 213549 | 215972 | 216485 | 218778 | 222570 | 223884 | 227870 | 231118 | 233465 | 236153 | 236716 | 240243 | 242674 | 244883 | 247447 | 249334 | 251162
G7 | 13893 | 97621 | 135490 | 169060 | 187880 | 199972 | 207951 | 191909 | 209514 | 216716 | 223452 | 225460 | 228248 | 230043 | 229974 | 232714 | 231369 | 230321 | 227669 | 227676 | 225381 | 225404 | 223871 | 224999 | 223809 | 224469 | 224043 | 223490 | 223637 | 224206 | 223786 | 223635 | 222703 | 224947 | 226091 | 227359 | 227506 | 228957 | 230875 | 230873 | 231767 | 233293 | 234723 | 236183 | 236792 | 237464
G8 | 12316 | 81116 | 115760 | 142106 | 160793 | 171432 | 181252 | 165763 | 181753 | 190125 | 194474 | 198173 | 200690 | 204176 | 206147 | 208697 | 208839 | 209831 | 212065 | 212993 | 215050 | 215358 | 216452 | 219003 | 220373 | 222585 | 225369 | 226885 | 228909 | 230598 | 232540 | 234697 | 239000 | 241086 | 244554 | 248394 | 251336 | 255390 | 257572 | 260699 | 263204 | 266450 | 270586 | 274298 | 276182 | 280038
G9 | 14248 | 101289 | 138615 | 167905 | 187925 | 199097 | 207975 | 193293 | 208111 | 216833 | 221403 | 225593 | 228261 | 231341 | 232943 | 236910 | 237238 | 239114 | 239152 | 242116 | 243396 | 244860 | 246021 | 247571 | 248182 | 251909 | 251721 | 252962 | 255528 | 256991 | 259679 | 260417 | 262686 | 266224 | 270373 | 273166 | 275693 | 278979 | 281813 | 284711 | 288158 | 291222 | 295040 | 298419 | 300429 | 304272
G10 | 11122 | 89121 | 126965 | 159102 | 177751 | 189191 | 197197 | 196208 | 212143 | 221952 | 226611 | 231526 | 233746 | 237742 | 240028 | 245637 | 245996 | 247310 | 250695 | 251896 | 253981 | 255393 | 256656 | 260085 | 260866 | 263445 | 264517 | 268018 | 270708 | 272601 | 275851 | 275758 | 279062 | 282302 | 287558 | 290252 | 294215 | 298036 | 301379 | 305991 | 309345 | 312110 | 316773 | 319925 | 325445 | 330772
G11 | 14215 | 98771 | 129132 | 161250 | 179075 | 189556 | 198647 | 190830 | 206652 | 215037 | 220068 | 223919 | 227391 | 231652 | 233782 | 236250 | 239404 | 240282 | 241556 | 243916 | 245739 | 246978 | 249066 | 250954 | 252502 | 255597 | 256888 | 260794 | 263313 | 266299 | 269556 | 271369 | 272764 | 277264 | 283374 | 286672 | 290172 | 293983 | 298752 | 301904 | 305810 | 310421 | 313676 | 317148 | 321597 | 326181
G12
H1 | 4112 | 23704 | 26335 | 32430 | 36898 | 39785 | 42308 | 40725 | 43645 | 45605 | 47401 | 48438 | 49590 | 50669 | 51372 | 52426 | 53003 | 53632 | 54425 | 55267 | 56047 | 57030 | 57051 | 57825 | 58362 | 59711 | 60206 | 61999 | 62526 | 63794 | 64875 | 65410 | 66215 | 67312 | 69385 | 70169 | 71225 | 72929 | 73954 | 74788 | 76136 | 77432 | 78484 | 79977 | 80969 | 82711
H2 | 5700 | 36673 | 43136 | 49628 | 55429 | 59760 | 62813 | 59531 | 63896 | 66952 | 68408 | 70351 | 72085 | 72656 | 73876 | 75480 | 76513 | 77036 | 77616 | 79539 | 80275 | 80807 | 82313 | 83055 | 84170 | 85403 | 87205 | 88005 | 89178 | 91223 | 92384 | 92749 | 94685 | 96239 | 98071 | 99903 | 102071 | 103779 | 104779 | 106445 | 108304 | 109764 | 111911 | 113827 | 114711 | 116413
H3 | 3072 | 16225 | 18218 | 19563 | 21917 | 24020 | 25260 | 23242 | 25663 | 26819 | 27915 | 28745 | 29788 | 30644 | 30768 | 31485 | 31627 | 32204 | 33291 | 33579 | 33962 | 34189 | 34602 | 35346 | 35866 | 36921 | 37178 | 37386 | 38635 | 38849 | 39824 | 39814 | 40497 | 41477 | 41891 | 42664 | 43846 | 44755 | 44720 | 45696 | 46253 | 47603 | 47909 | 48300 | 49751 | 50813
H4 | 5011 | 30410 | 35843 | 43637 | 48766 | 53434 | 57228 | 51410 | 58459 | 60831 | 62957 | 64949 | 65674 | 67229 | 68617 | 69759 | 70375 | 70819 | 71846 | 73628 | 73903 | 74542 | 74962 | 76957 | 77552 | 78638 | 80065 | 81157 | 82211 | 83895 | 85151 | 85243 | 87055 | 88380 | 89734 | 91392 | 93349 | 94606 | 96693 | 97321 | 98624 | 100903 | 102228 | 103931 | 105075 | 106418
H5 | 5692 | 52809 | 67833 | 84496 | 95808 | 104256 | 109893 | 99024 | 112875 | 117584 | 121851 | 123942 | 126254 | 127794 | 130271 | 131538 | 134121 | 134849 | 137640 | 138953 | 141328 | 142162 | 143533 | 145260 | 146976 | 148730 | 150652 | 152960 | 154724 | 157274 | 159223 | 160750 | 163432 | 166363 | 168357 | 171722 | 173619 | 175836 | 178284 | 182172 | 183874 | 185746 | 189566 | 190852 | 192788 | 196572
H6 | 1984 | 9395 | 9720 | 11298 | 13170 | 14489 | 15437 | 13349 | 15535 | 16145 | 17250 | 17465 | 18211 | 18802 | 19173 | 19361 | 19808 | 19863 | 20594 | 20750 | 21028 | 21288 | 21546 | 21868 | 22341 | 22722 | 23103 | 23498 | 23755 | 24179 | 24508 | 24890 | 25251 | 25710 | 26346 | 26793 | 27637 | 27846 | 28415 | 28963 | 29425 | 29659 | 30825 | 31133 | 31711 | 32029
H7 | 5716 | 29867 | 38029 | 47634 | 54422 | 58973 | 63048 | 56376 | 63941 | 67344 | 69565 | 71329 | 73100 | 70517 | 72297 | 73068 | 74140 | 74537 | 75842 | 76788 | 77955 | 78610 | 79061 | 80722 | 80767 | 83093 | 83630 | 85522 | 85859 | 87416 | 91302 | 92478 | 93444 | 95656 | 97136 | 98910 | 100211 | 101905 | 103828 | 105299 | 105965 | 108226 | 110053 | 111529 | 112895 | 114826
H8 | 7112 | 41396 | 50654 | 65455 | 74062 | 80115 | 85251 | 76466 | 85637 | 90289 | 92750 | 94898 | 97229 | 99329 | 100581 | 102829 | 104659 | 104920 | 106989 | 108076 | 108551 | 110307 | 110686 | 112331 | 113577 | 115477 | 116485 | 117872 | 118224 | 121184 | 122427 | 123139 | 124750 | 126726 | 128952 | 130836 | 131657 | 134532 | 136215 | 137071 | 139535 | 141665 | 143425 | 146057 | 148393 | 149699
H9 | 6980 | 35595 | 41269 | 49478 | 56628 | 61453 | 63795 | 58650 | 64062 | 66834 | 68847 | 70849 | 72054 | 73124 | 73685 | 74754 | 75227 | 75777 | 76881 | 77363 | 78376 | 79109 | 79875 | 81167 | 83058 | 83361 | 83861 | 85971 | 85768 | 88318 | 88832 | 89527 | 91006 | 92953 | 94663 | 95853 | 97666 | 98514 | 100008 | 100578 | 101872 | 103430 | 104679 | 105935 | 106442 | 108105
H10 | 6978 | 42421 | 50369 | 57800 | 66410 | 72411 | 76082 | 73025 | 80915 | 84897 | 86915 | 89407 | 90574 | 92366 | 94611 | 95343 | 97069 | 97529 | 98063 | 99806 | 100812 | 101892 | 102673 | 103434 | 104876 | 106946 | 108278 | 109089 | 110785 | 112592 | 113936 | 114470 | 114933 | 116683 | 119453 | 121369 | 122301 | 125411 | 126781 | 128308 | 130189 | 132005 | 134242 | 136035 | 137912 | 139654
H11 | 11130 | 79179 | 96858 | 116791 | 128930 | 139139 | 145815 | 141864 | 153994 | 159444 | 163238 | 166753 | 170204 | 171942 | 174451 | 176930 | 178340 | 179774 | 182265 | 183135 | 185336 | 186455 | 187644 | 189667 | 191348 | 193274 | 195441 | 196712 | 197960 | 200506 | 203888 | 204868 | 206752 | 208871 | 213853 | 217766 | 218968 | 222572 | 225460 | 229344 | 230911 | 233730 | 236248 | 241023 | 242321 | 246116
H12
End Time |  |  |  | 2018-01-10 10:38:15
Warning | Execution of 'masterkurs2018_n2a_undifferentiated' was interupted by the user.